## Areas
AREA INPUTS
DETAILS & PROP TYPE | [5 empty] | MEASUREMENTS |  |  | WALLS | [7 empty] | ROOFS | [5 empty] | FLOORS |  |  |  | OPENINGS | [12 empty] | VENT & DHW | [8 empty] | RENEWABLES | [7 empty] | CHECKS
[27 empty] | Front Door |  |  |  | Windows
Dwelling | Level | Front Door Orientation | Terrace Type | Position | Sheltered Sides | Floor Area | Storey Height | Living Room Area | External Walls 1 (Cavity) (ex Windows) | External Walls 2 (Dormer) (ex Windows) | External Walls 3 (Dwarf Walls) | External Walls 4 (Semi Exposed) | Party Walls to Circulation | Party Walls to Flats | Internal Paritions | Internal Partitions Doubled | Roof Type 1 (Pitched) | Roof Type 2 (Timber Flat) | Roof Type 3 (Semi Exposed) | Roof Type 4 (Cold Roof) | Roof Type 5 (Concrete Flat) | Party Ceiling | Ground Floor | Exposed Floor | Semi Exposed Floor | Party Floor | North East | South East | South West | North West | North | North East | East | South East | South | South West | West | North West | Roof Light | Bathrooms / Shower Rooms | WC / Utility | Shower Bath | Standard Bath | Separate Shower | Wet Rooms Ex Kitchen | Bath Count | Showers | Cooled Area | Total Floor Area | Fraction of Floor Area | PV Capacity (kW) | Number of Panels | Panel Capacity (kW) | Peak Capacity (kW) | Orientation | Pitch (°) | Glazing Area (27) | Door Area (26) | Net Area of External Elements (31) | Volume | Total Area in Sheet (m2) | Total in Export (m2)
Flat 01 | 0 | NW | End | GF | 2 | 53.96 | 2.5 | 24.62 | 31.02 | 0 | 0 | 12.95 | 24.68 | 6.71 | 44.46 | 88.92 | 0 | 0 | 0 | 0 | 5.88 | 48.08 | 53.96 | 0 | 0 | 0 | 0 | 0 | 0 | 2.12 | 0 | 0 | 0 | 0 | 0 | 7.97 | 0 | 1.8 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | [8 empty] | 9.77 | 2.12 | 115.7 | 134.9 | 239.63 | 5622.67
Flat 02 | 0 | SW | End | GF | 2 | 72.97 | 2.5 | 25.67 | 40.36 | 0 | 0 | 0 | 24.03 | 21.2 | 82.97 | 165.94 | 0 | 0 | 0 | 0 | 0 | 72.97 | 72.97 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.88 | 0 | 0 | 0 | 0 | 0 | 8.84 | 0 | 2 | 0 | 1 | 0 | 1 | 2 | 1 | 2 | 0 | [8 empty] | 11.72 | 0 | 125.05 | 182.425 | 326.22
Flat 03 | 0 | W | Mid | GF | 3 | 65.53 | 2.5 | 25.73 | 26.04 | 0 | 0 | 0 | 21.18 | 42.99 | 59.6 | 119.2 | 0 | 0 | 0 | 0 | 0 | 65.53 | 65.53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8 | 4.68 | 1.89 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 0 | [8 empty] | 8.37 | 0 | 99.94 | 163.825 | 289.24
Flat 04 | 0 | W | Mid | GF | 3 | 51.69 | 2.5 | 23.6 | 13.18 | 0 | 0 | 0 | 16.76 | 50.22 | 44.84 | 89.68 | 0 | 0 | 0 | 0 | 0 | 51.69 | 51.69 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.04 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 0 | [8 empty] | 7.04 | 0 | 71.91 | 129.225 | 235.42
Flat 05 | 0 | N | End | GF | 1 | 91.58 | 2.5 | 32.7 | 69.64 | 0 | 0 | 0 | 4.16 | 61.8 | 75.78 | 151.56 | 0 | 0 | 0 | 0 | 0 | 91.57 | 91.58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.6 | 0 | 1.44 | 0 | 5.24 | 0 | 0 | 2 | 0 | 1 | 0 | 1 | 2 | 1 | 2 | 0 | [8 empty] | 10.28 | 0 | 171.5 | 228.95 | 404.81
Flat 06 | 0 | E | Mid | GF | 3 | 71.95 | 2.5 | 24.56 | 27.45 | 0 | 0 | 0 | 32.75 | 36.69 | 67.11 | 134.22 | 0 | 0 | 0 | 0 | 0 | 71.95 | 71.95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.84 | 0 | 0 | 2 | 0 | 1 | 0 | 1 | 2 | 1 | 2 | 0 | [8 empty] | 8.84 | 0 | 108.24 | 179.875 | 316.74
Flat 07 | 1 | SE | End | Mid | 2 | 71.69 | 2.5 | 25.64 | 40.28 | 0 | 0 | 0 | 19.29 | 26.18 | 73.51 | 147.02 | 0 | 0 | 0 | 0 | 0 | 71.69 | 0 | 2.91 | 3.96 | 64.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.12 | 0 | 7.05 | 0 | 5.4 | 0 | 2 | 0 | 1 | 0 | 1 | 2 | 1 | 2 | 0 | [8 empty] | 14.57 | 0 | 61.72 | 179.225 | 317.21
Flat 08 | 1 | SW | End | Mid | 2 | 72.97 | 2.5 | 25.67 | 36.93 | 0 | 0 | 0 | 7.99 | 40.67 | 82.97 | 165.94 | 0 | 0 | 0 | 0 | 0 | 72.97 | 0 | 0 | 0 | 72.97 | 0 | 0 | 0 | 0 | 0 | 2.88 | 0 | 0 | 0 | 0 | 0 | 8.84 | 0 | 2 | 0 | 1 | 0 | 1 | 2 | 1 | 2 | 0 | [8 empty] | 11.72 | 0 | 48.65 | 182.425 | 326.22
Flat 09 | 1 | W | Mid | Mid | 3 | 65.52 | 2.5 | 25.73 | 26.04 | 0 | 0 | 0 | 24.12 | 42.99 | 61.95 | 123.9 | 0 | 0 | 0 | 0 | 0 | 65.52 | 0 | 0 | 0 | 65.52 | 0 | 0 | 0 | 0 | 0 | 1.8 | 4.68 | 1.89 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 0 | [8 empty] | 8.37 | 0 | 34.41 | 163.8 | 294.51
Flat 10 | 1 | W | Mid | Mid | 3 | 51.68 | 2.5 | 23.6 | 13.18 | 0 | 0 | 0 | 16.76 | 50.22 | 44.76 | 89.52 | 0 | 0 | 0 | 0 | 0 | 51.69 | 0 | 0 | 0 | 51.68 | 0 | 0 | 0 | 0 | 0 | 0 | 7.04 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 0 | [8 empty] | 7.04 | 0 | 20.22 | 129.2 | 235.33
Flat 11 | 1 | N | End | Mid | 1 | 91.58 | 2.5 | 32.7 | 69.64 | 0 | 0 | 0 | 4.16 | 61.8 | 76.24 | 152.48 | 0 | 0 | 0 | 0 | 0 | 91.57 | 0 | 0 | 0 | 91.58 | 0 | 0 | 0 | 0 | 0 | 0 | 3.6 | 0 | 1.44 | 0 | 5.24 | 0 | 0 | 2 | 0 | 1 | 0 | 1 | 2 | 1 | 2 | 0 | [8 empty] | 10.28 | 0 | 79.92 | 228.95 | 405.27
Flat 12 | 1 | E | Mid | Mid | 3 | 72.04 | 2.5 | 24.65 | 27.45 | 0 | 0 | 0 | 32.77 | 36.69 | 67.14 | 134.28 | 0 | 0 | 0 | 0 | 0 | 72.04 | 0 | 0 | 0 | 72.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.84 | 0 | 0 | 2 | 0 | 1 | 0 | 1 | 2 | 1 | 2 | 0 | [8 empty] | 8.84 | 0 | 36.29 | 180.1 | 316.97
Flat 13 | 2 | SE | End | Top | 2 | 71.69 | 2.5 | 25.64 | 41.96 | 0 | 0 | 0 | 19.88 | 26.98 | 73.51 | 147.02 | 0 | 0 | 0 | 0 | 71.69 | 0 | 0 | 0 | 0 | 71.69 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.12 | 0 | 7.05 | 0 | 5.4 | 0 | 2 | 0 | 1 | 0 | 1 | 2 | 1 | 2 | 0 | [8 empty] | 14.57 | 0 | 128.22 | 179.225 | 320.28
Flat 14 | 2 | SW | End | Top | 2 | 72.97 | 2.5 | 25.67 | 38.42 | 0 | 0 | 0 | 8.24 | 41.92 | 82.97 | 165.94 | 0 | 0 | 0 | 0 | 72.97 | 0 | 0 | 0 | 0 | 72.97 | 0 | 0 | 0 | 0 | 0 | 2.88 | 0 | 0 | 0 | 0 | 0 | 8.84 | 0 | 2 | 0 | 1 | 0 | 1 | 2 | 1 | 2 | 0 | [8 empty] | 11.72 | 0 | 123.11 | 182.425 | 329.21
Flat 15 | 2 | W | Mid | Top | 3 | 65.52 | 2.5 | 25.73 | 27.1 | 0 | 0 | 0 | 24.86 | 44.31 | 61.95 | 123.9 | 0 | 0 | 0 | 0 | 65.52 | 0 | 0 | 0 | 0 | 65.52 | 0 | 0 | 0 | 0 | 0 | 1.8 | 4.68 | 1.89 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 0 | [8 empty] | 8.37 | 0 | 100.99 | 163.8 | 297.63
Flat 16 | 2 | W | Mid | Top | 3 | 51.68 | 2.5 | 23.6 | 13.8 | 0 | 0 | 0 | 17.26 | 51.76 | 44.8 | 89.6 | 0 | 0 | 0 | 0 | 51.69 | 0 | 0 | 0 | 0 | 51.68 | 0 | 0 | 0 | 0 | 0 | 0 | 7.04 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 0 | [8 empty] | 7.04 | 0 | 72.53 | 129.2 | 238.03
Flat 17 | 2 | N | End | Top | 1 | 91.58 | 2.5 | 32.7 | 72.08 | 0 | 0 | 0 | 4.29 | 63.69 | 76.24 | 152.48 | 0 | 0 | 0 | 0 | 91.57 | 0 | 0 | 0 | 0 | 91.58 | 0 | 0 | 0 | 0 | 0 | 0 | 3.6 | 0 | 1.44 | 0 | 5.24 | 0 | 0 | 2 | 0 | 1 | 0 | 1 | 2 | 1 | 2 | 0 | [8 empty] | 10.28 | 0 | 173.93 | 228.95 | 409.73
Flat 18 | 2 | E | Mid | Top | 3 | 72.04 | 2.5 | 24.65 | 28.55 | 0 | 0 | 0 | 33.79 | 37.82 | 67.14 | 134.28 | 0 | 0 | 0 | 0 | 72.04 | 0 | 0 | 0 | 0 | 72.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.84 | 0 | 0 | 2 | 0 | 1 | 0 | 1 | 2 | 1 | 2 | 0 | [8 empty] | 8.84 | 0 | 109.43 | 180.1 | 320.22
5622.67

## Pasted Areas
↓
Exported: 2025-11-18 20:12:18, Model: Example Model Version 1, Faces: 704, North Angle: 113.0° | [6 empty] | Total Area | 5622.67
Material | Face | Area (m²) | Orientation (°) | Pitch (°) | Cardinal Direction | Parent Hierarchy | Dwelling
SAP External Wall Area 1 | 3944 | 5.83 | 99.95 | 90 | East | Flat 09 Envelope | Flat 09
SAP External Wall Area 1 | 3945 | 3.75 | 9.95 | 90 | North | Flat 09 Envelope | Flat 09
SAP External Wall Area 1 | 3947 | 8.55 | 67 | 90 | North East | Flat 09 Envelope | Flat 09
SAP External Wall Area 1 | 3951 | 6.24 | 99.95 | 90 | East | Flat 09 Envelope | Flat 09
SAP External Wall Area 1 | 3956 | 1.67 | 157 | 90 | South East | Flat 09 Envelope | Flat 09
SAP External Wall Area 1 | 4082 | 8 | 247 | 90 | South West | Flat 07 Envelope | Flat 07
SAP External Wall Area 1 | 4083 | 4.43 | 247 | 90 | South West | Flat 07 Envelope | Flat 07
SAP External Wall Area 1 | 4085 | 2.56 | 157 | 90 | South East | Flat 07 Envelope | Flat 07
SAP External Wall Area 1 | 4086 | 25.29 | 337 | 90 | North West | Flat 07 Envelope | Flat 07
SAP External Wall Area 1 | 1265 | 11.5 | 247 | 90 | South West | Flat 01 Envelope | Flat 01
SAP External Wall Area 1 | 1287 | 14.84 | 337 | 90 | North West | Flat 01 Envelope | Flat 01
SAP External Wall Area 1 | 1307 | 4.68 | 157 | 90 | South East | Flat 01 Envelope | Flat 01
SAP External Wall Area 1 | 1484 | 3.49 | 337 | 90 | North West | Flat 02 Envelope | Flat 02
SAP External Wall Area 1 | 1485 | 3.43 | 67 | 90 | North East | Flat 02 Envelope | Flat 02
SAP External Wall Area 1 | 1486 | 12.13 | 337 | 90 | North West | Flat 02 Envelope | Flat 02
SAP External Wall Area 1 | 1488 | 17.88 | 67 | 90 | North East | Flat 02 Envelope | Flat 02
SAP External Wall Area 1 | 1503 | 3.43 | 247 | 90 | South West | Flat 02 Envelope | Flat 02
SAP External Wall Area 1 | 1188 | 3.75 | 189.95 | 90 | South | Flat 04 Envelope | Flat 04
SAP External Wall Area 1 | 1209 | 5.66 | 99.95 | 90 | East | Flat 04 Envelope | Flat 04
SAP External Wall Area 1 | 1210 | 3.77 | 99.95 | 90 | East | Flat 04 Envelope | Flat 04
SAP External Wall Area 1 | 2507 | 49.87 | 189.95 | 90 | South | Flat 05 Envelope | Flat 05
SAP External Wall Area 1 | 2508 | 3.89 | 279.95 | 90 | West | Flat 05 Envelope | Flat 05
SAP External Wall Area 1 | 2510 | 12.13 | 99.95 | 90 | East | Flat 05 Envelope | Flat 05
SAP External Wall Area 1 | 2521 | 3.75 | 9.95 | 90 | North | Flat 05 Envelope | Flat 05
SAP External Wall Area 1 | 1743 | 5.29 | 279.95 | 90 | West | Flat 06 Envelope | Flat 06
SAP External Wall Area 1 | 1747 | 1.29 | 247 | 90 | South West | Flat 06 Envelope | Flat 06
SAP External Wall Area 1 | 1748 | 12.13 | 279.95 | 90 | West | Flat 06 Envelope | Flat 06
SAP External Wall Area 1 | 1749 | 4.37 | 9.95 | 90 | North | Flat 06 Envelope | Flat 06
SAP External Wall Area 1 | 1758 | 4.37 | 189.95 | 90 | South | Flat 06 Envelope | Flat 06
SAP External Wall Area 1 | 2903 | 3.75 | 9.95 | 90 | North | Flat 03 Envelope | Flat 03
SAP External Wall Area 1 | 2899 | 8.55 | 67 | 90 | North East | Flat 03 Envelope | Flat 03
SAP External Wall Area 1 | 2930 | 6.24 | 99.95 | 90 | East | Flat 03 Envelope | Flat 03
SAP External Wall Area 1 | 2904 | 1.67 | 157 | 90 | South East | Flat 03 Envelope | Flat 03
SAP External Wall Area 1 | 2946 | 5.83 | 99.95 | 90 | East | Flat 03 Envelope | Flat 03
SAP External Wall Area 1 | 2809 | 12.61 | 279.95 | 90 | West | Flat 18 Envelope | Flat 18
SAP External Wall Area 1 | 2811 | 4.5 | 9.95 | 90 | North | Flat 18 Envelope | Flat 18
SAP External Wall Area 1 | 2813 | 1.33 | 246.81 | 90 | South West | Flat 18 Envelope | Flat 18
SAP External Wall Area 1 | 2815 | 5.61 | 279.95 | 90 | West | Flat 18 Envelope | Flat 18
SAP External Wall Area 1 | 2848 | 4.5 | 189.95 | 90 | South | Flat 18 Envelope | Flat 18
SAP External Wall Area 1 | 2427 | 6.1 | 99.95 | 90 | East | Flat 15 Envelope | Flat 15
SAP External Wall Area 1 | 2428 | 3.86 | 9.95 | 90 | North | Flat 15 Envelope | Flat 15
SAP External Wall Area 1 | 2430 | 8.87 | 67 | 90 | North East | Flat 15 Envelope | Flat 15
SAP External Wall Area 1 | 2434 | 6.49 | 99.95 | 90 | East | Flat 15 Envelope | Flat 15
SAP External Wall Area 1 | 2439 | 1.78 | 157 | 90 | South East | Flat 15 Envelope | Flat 15
SAP External Wall Area 1 | 3354 | 12.13 | 279.95 | 90 | West | Flat 12 Envelope | Flat 12
SAP External Wall Area 1 | 3356 | 4.37 | 9.95 | 90 | North | Flat 12 Envelope | Flat 12
SAP External Wall Area 1 | 3358 | 1.29 | 246.81 | 90 | South West | Flat 12 Envelope | Flat 12
SAP External Wall Area 1 | 3360 | 5.29 | 279.95 | 90 | West | Flat 12 Envelope | Flat 12
SAP External Wall Area 1 | 3393 | 4.37 | 189.95 | 90 | South | Flat 12 Envelope | Flat 12
SAP External Wall Area 1 | 2126 | 4.17 | 279.95 | 90 | West | Flat 17 Envelope | Flat 17
SAP External Wall Area 1 | 2129 | 51.44 | 189.95 | 90 | South | Flat 17 Envelope | Flat 17
SAP External Wall Area 1 | 2130 | 12.61 | 99.95 | 90 | East | Flat 17 Envelope | Flat 17
SAP External Wall Area 1 | 2141 | 3.86 | 9.95 | 90 | North | Flat 17 Envelope | Flat 17
SAP External Wall Area 1 | 2649 | 4.05 | 99.95 | 90 | East | Flat 16 Envelope | Flat 16
SAP External Wall Area 1 | 2650 | 5.89 | 99.95 | 90 | East | Flat 16 Envelope | Flat 16
SAP External Wall Area 1 | 2651 | 3.86 | 189.95 | 90 | South | Flat 16 Envelope | Flat 16
SAP External Wall Area 1 | 2566 | 18.51 | 67 | 90 | North East | Flat 14 Envelope | Flat 14
SAP External Wall Area 1 | 2567 | 12.61 | 337 | 90 | North West | Flat 14 Envelope | Flat 14
SAP External Wall Area 1 | 2568 | 3.76 | 337 | 90 | North West | Flat 14 Envelope | Flat 14
SAP External Wall Area 1 | 2569 | 3.54 | 67 | 90 | North East | Flat 14 Envelope | Flat 14
SAP External Wall Area 1 | 4018 | 3.89 | 279.95 | 90 | West | Flat 11 Envelope | Flat 11
SAP External Wall Area 1 | 4020 | 49.87 | 189.95 | 90 | South | Flat 11 Envelope | Flat 11
SAP External Wall Area 1 | 4021 | 12.13 | 99.95 | 90 | East | Flat 11 Envelope | Flat 11
SAP External Wall Area 1 | 4038 | 3.75 | 9.95 | 90 | North | Flat 11 Envelope | Flat 11
SAP External Wall Area 1 | 3205 | 17.88 | 67 | 90 | North East | Flat 08 Envelope | Flat 08
SAP External Wall Area 1 | 3206 | 12.13 | 337 | 90 | North West | Flat 08 Envelope | Flat 08
SAP External Wall Area 1 | 3207 | 3.49 | 337 | 90 | North West | Flat 08 Envelope | Flat 08
SAP External Wall Area 1 | 3208 | 3.43 | 67 | 90 | North East | Flat 08 Envelope | Flat 08
SAP External Wall Area 1 | 2050 | 8.3 | 247 | 90 | South West | Flat 13 Envelope | Flat 13
SAP External Wall Area 1 | 2051 | 4.73 | 247 | 90 | South West | Flat 13 Envelope | Flat 13
SAP External Wall Area 1 | 2053 | 2.71 | 157 | 90 | South East | Flat 13 Envelope | Flat 13
SAP External Wall Area 1 | 2054 | 26.22 | 337 | 90 | North West | Flat 13 Envelope | Flat 13
SAP External Wall Area 1 | 3288 | 3.77 | 99.95 | 90 | East | Flat 10 Envelope | Flat 10
SAP External Wall Area 1 | 3289 | 5.66 | 99.95 | 90 | East | Flat 10 Envelope | Flat 10
SAP External Wall Area 1 | 3290 | 3.75 | 189.95 | 90 | South | Flat 10 Envelope | Flat 10
SAP Party Walls to Dwelling | 3949 | 21.79 | 189.95 | 90 | South | Flat 09 Envelope | Flat 09
SAP Party Walls to Dwelling | 3950 | 21.2 | 337 | 90 | North West | Flat 09 Envelope | Flat 09
SAP Party Walls to Dwelling | 4084 | 19.47 | 67 | 90 | North East | Flat 07 Envelope | Flat 07
SAP Party Walls to Dwelling | 4113 | 6.71 | 157 | 90 | South East | Flat 07 Envelope | Flat 07
SAP Party Walls to Dwelling | 1311 | 6.71 | 157 | 90 | South East | Flat 01 Envelope | Flat 01
SAP Party Walls to Dwelling | 1489 | 21.2 | 157 | 90 | South East | Flat 02 Envelope | Flat 02
SAP Party Walls to Dwelling | 1187 | 23.37 | 189.95 | 90 | South | Flat 04 Envelope | Flat 04
SAP Party Walls to Dwelling | 1189 | 5.06 | 279.95 | 90 | West | Flat 04 Envelope | Flat 04
SAP Party Walls to Dwelling | 1205 | 21.79 | 9.95 | 90 | North | Flat 04 Envelope | Flat 04
SAP Party Walls to Dwelling | 2504 | 19.18 | 9.95 | 90 | North | Flat 05 Envelope | Flat 05
SAP Party Walls to Dwelling | 2505 | 24.22 | 9.95 | 90 | North | Flat 05 Envelope | Flat 05
SAP Party Walls to Dwelling | 2506 | 12.49 | 279.95 | 90 | West | Flat 05 Envelope | Flat 05
SAP Party Walls to Dwelling | 2511 | 5.91 | 99.95 | 90 | East | Flat 05 Envelope | Flat 05
SAP Party Walls to Dwelling | 1740 | 6.71 | 337 | 90 | North West | Flat 06 Envelope | Flat 06
SAP Party Walls to Dwelling | 1742 | 18.34 | 189.95 | 90 | South | Flat 06 Envelope | Flat 06
SAP Party Walls to Dwelling | 1745 | 11.64 | 99.95 | 90 | East | Flat 06 Envelope | Flat 06
SAP Party Walls to Dwelling | 2919 | 21.79 | 189.95 | 90 | South | Flat 03 Envelope | Flat 03
SAP Party Walls to Dwelling | 2902 | 21.2 | 337 | 90 | North West | Flat 03 Envelope | Flat 03
SAP Party Walls to Dwelling | 2817 | 18.9 | 189.95 | 90 | South | Flat 18 Envelope | Flat 18
SAP Party Walls to Dwelling | 2812 | 6.92 | 337 | 90 | North West | Flat 18 Envelope | Flat 18
SAP Party Walls to Dwelling | 2844 | 12 | 99.95 | 90 | East | Flat 18 Envelope | Flat 18
SAP Party Walls to Dwelling | 2432 | 22.46 | 189.95 | 90 | South | Flat 15 Envelope | Flat 15
SAP Party Walls to Dwelling | 2433 | 21.85 | 337 | 90 | North West | Flat 15 Envelope | Flat 15
SAP Party Walls to Dwelling | 3362 | 18.34 | 189.95 | 90 | South | Flat 12 Envelope | Flat 12
SAP Party Walls to Dwelling | 3357 | 6.71 | 337 | 90 | North West | Flat 12 Envelope | Flat 12
SAP Party Walls to Dwelling | 3389 | 11.64 | 99.95 | 90 | East | Flat 12 Envelope | Flat 12
SAP Party Walls to Dwelling | 2125 | 6.09 | 99.95 | 90 | East | Flat 17 Envelope | Flat 17
SAP Party Walls to Dwelling | 2127 | 24.96 | 9.95 | 90 | North | Flat 17 Envelope | Flat 17
SAP Party Walls to Dwelling | 2128 | 19.77 | 9.95 | 90 | North | Flat 17 Envelope | Flat 17
SAP Party Walls to Dwelling | 2131 | 12.87 | 279.95 | 90 | West | Flat 17 Envelope | Flat 17
SAP Party Walls to Dwelling | 2648 | 24.09 | 189.95 | 90 | South | Flat 16 Envelope | Flat 16
SAP Party Walls to Dwelling | 2653 | 22.46 | 9.95 | 90 | North | Flat 16 Envelope | Flat 16
SAP Party Walls to Dwelling | 2654 | 5.21 | 279.95 | 90 | West | Flat 16 Envelope | Flat 16
SAP Party Walls to Dwelling | 2571 | 21.85 | 157 | 90 | South East | Flat 14 Envelope | Flat 14
SAP Party Walls to Dwelling | 2589 | 20.07 | 247 | 90 | South West | Flat 14 Envelope | Flat 14
SAP Party Walls to Dwelling | 4017 | 5.91 | 99.95 | 90 | East | Flat 11 Envelope | Flat 11
SAP Party Walls to Dwelling | 4019 | 19.18 | 9.95 | 90 | North | Flat 11 Envelope | Flat 11
SAP Party Walls to Dwelling | 4022 | 12.49 | 279.95 | 90 | West | Flat 11 Envelope | Flat 11
SAP Party Walls to Dwelling | 4034 | 24.22 | 9.95 | 90 | North | Flat 11 Envelope | Flat 11
SAP Party Walls to Dwelling | 3210 | 21.2 | 157 | 90 | South East | Flat 08 Envelope | Flat 08
SAP Party Walls to Dwelling | 3228 | 19.47 | 247 | 90 | South West | Flat 08 Envelope | Flat 08
SAP Party Walls to Dwelling | 2052 | 20.07 | 67 | 90 | North East | Flat 13 Envelope | Flat 13
SAP Party Walls to Dwelling | 2073 | 6.91 | 157 | 90 | South East | Flat 13 Envelope | Flat 13
SAP Party Walls to Dwelling | 3287 | 23.37 | 189.95 | 90 | South | Flat 10 Envelope | Flat 10
SAP Party Walls to Dwelling | 3292 | 21.79 | 9.95 | 90 | North | Flat 10 Envelope | Flat 10
SAP Party Walls to Dwelling | 3293 | 5.06 | 279.95 | 90 | West | Flat 10 Envelope | Flat 10
SAP Party Walls to Corridors | 3946 | 6.68 | 279.95 | 90 | West | Flat 09 Envelope | Flat 09
SAP Party Walls to Corridors | 3948 | 5.33 | 189.95 | 90 | South | Flat 09 Envelope | Flat 09
SAP Party Walls to Corridors | 3952 | 2.66 | 279.95 | 90 | West | Flat 09 Envelope | Flat 09
SAP Party Walls to Corridors | 3953 | 6.51 | 279.95 | 90 | West | Flat 09 Envelope | Flat 09
SAP Party Walls to Corridors | 3954 | 2.94 | 9.95 | 90 | North | Flat 09 Envelope | Flat 09
SAP Party Walls to Corridors | 4087 | 19.29 | 157 | 90 | South East | Flat 07 Envelope | Flat 07
SAP Party Walls to Corridors | 1264 | 4.96 | 67 | 90 | North East | Flat 01 Envelope | Flat 01
SAP Party Walls to Corridors | 1266 | 2.82 | 157 | 90 | South East | Flat 01 Envelope | Flat 01
SAP Party Walls to Corridors | 1267 | 9.94 | 157 | 90 | South East | Flat 01 Envelope | Flat 01
SAP Party Walls to Corridors | 1285 | 6.96 | 67 | 90 | North East | Flat 01 Envelope | Flat 01
SAP Party Walls to Corridors | 1487 | 20.76 | 247 | 90 | South West | Flat 02 Envelope | Flat 02
SAP Party Walls to Corridors | 1507 | 3.27 | 157 | 90 | South East | Flat 02 Envelope | Flat 02
SAP Party Walls to Corridors | 1200 | 5.33 | 9.95 | 90 | North | Flat 04 Envelope | Flat 04
SAP Party Walls to Corridors | 1203 | 2.85 | 279.95 | 90 | West | Flat 04 Envelope | Flat 04
SAP Party Walls to Corridors | 1225 | 8.58 | 279.95 | 90 | West | Flat 04 Envelope | Flat 04
SAP Party Walls to Corridors | 2509 | 4.16 | 9.95 | 90 | North | Flat 05 Envelope | Flat 05
SAP Party Walls to Corridors | 1738 | 6.33 | 337 | 90 | North West | Flat 06 Envelope | Flat 06
SAP Party Walls to Corridors | 1739 | 8.93 | 99.95 | 90 | East | Flat 06 Envelope | Flat 06
SAP Party Walls to Corridors | 1741 | 3.94 | 67 | 90 | North East | Flat 06 Envelope | Flat 06
SAP Party Walls to Corridors | 1744 | 1.75 | 9.95 | 90 | North | Flat 06 Envelope | Flat 06
SAP Party Walls to Corridors | 1746 | 7.72 | 67 | 90 | North East | Flat 06 Envelope | Flat 06
SAP Party Walls to Corridors | 1762 | 4.08 | 99.95 | 90 | East | Flat 06 Envelope | Flat 06
SAP Party Walls to Corridors | 2932 | 6.68 | 279.95 | 90 | West | Flat 03 Envelope | Flat 03
SAP Party Walls to Corridors | 2925 | 5.33 | 189.95 | 90 | South | Flat 03 Envelope | Flat 03
SAP Party Walls to Corridors | 2901 | 6.51 | 279.95 | 90 | West | Flat 03 Envelope | Flat 03
SAP Party Walls to Corridors | 2922 | 2.66 | 279.95 | 90 | West | Flat 03 Envelope | Flat 03
SAP Party Walls to Corridors | 2810 | 4.21 | 99.95 | 90 | East | Flat 18 Envelope | Flat 18
SAP Party Walls to Corridors | 2814 | 1.77 | 9.95 | 90 | North | Flat 18 Envelope | Flat 18
SAP Party Walls to Corridors | 2816 | 7.92 | 66.97 | 90 | North East | Flat 18 Envelope | Flat 18
SAP Party Walls to Corridors | 2831 | 4.11 | 67 | 90 | North East | Flat 18 Envelope | Flat 18
SAP Party Walls to Corridors | 2834 | 6.56 | 337 | 90 | North West | Flat 18 Envelope | Flat 18
SAP Party Walls to Corridors | 2835 | 9.22 | 99.95 | 90 | East | Flat 18 Envelope | Flat 18
SAP Party Walls to Corridors | 2429 | 6.88 | 279.95 | 90 | West | Flat 15 Envelope | Flat 15
SAP Party Walls to Corridors | 2431 | 5.49 | 189.95 | 90 | South | Flat 15 Envelope | Flat 15
SAP Party Walls to Corridors | 2435 | 2.75 | 279.95 | 90 | West | Flat 15 Envelope | Flat 15
SAP Party Walls to Corridors | 2436 | 6.71 | 279.95 | 90 | West | Flat 15 Envelope | Flat 15
SAP Party Walls to Corridors | 2437 | 3.03 | 9.95 | 90 | North | Flat 15 Envelope | Flat 15
SAP Party Walls to Corridors | 3355 | 4.08 | 99.95 | 90 | East | Flat 12 Envelope | Flat 12
SAP Party Walls to Corridors | 3359 | 1.72 | 9.95 | 90 | North | Flat 12 Envelope | Flat 12
SAP Party Walls to Corridors | 3361 | 7.69 | 66.97 | 90 | North East | Flat 12 Envelope | Flat 12
SAP Party Walls to Corridors | 3376 | 3.98 | 67 | 90 | North East | Flat 12 Envelope | Flat 12
SAP Party Walls to Corridors | 3379 | 6.36 | 337 | 90 | North West | Flat 12 Envelope | Flat 12
SAP Party Walls to Corridors | 3380 | 8.94 | 99.95 | 90 | East | Flat 12 Envelope | Flat 12
SAP Party Walls to Corridors | 2132 | 4.29 | 9.95 | 90 | North | Flat 17 Envelope | Flat 17
SAP Party Walls to Corridors | 2647 | 5.49 | 9.95 | 90 | North | Flat 16 Envelope | Flat 16
SAP Party Walls to Corridors | 2652 | 2.93 | 279.95 | 90 | West | Flat 16 Envelope | Flat 16
SAP Party Walls to Corridors | 2658 | 8.84 | 279.95 | 90 | West | Flat 16 Envelope | Flat 16
SAP Party Walls to Corridors | 2570 | 4.87 | 247 | 90 | South West | Flat 14 Envelope | Flat 14
SAP Party Walls to Corridors | 2585 | 3.37 | 157 | 90 | South East | Flat 14 Envelope | Flat 14
SAP Party Walls to Corridors | 4023 | 4.16 | 9.95 | 90 | North | Flat 11 Envelope | Flat 11
SAP Party Walls to Corridors | 3209 | 4.72 | 247 | 90 | South West | Flat 08 Envelope | Flat 08
SAP Party Walls to Corridors | 3224 | 3.27 | 157 | 90 | South East | Flat 08 Envelope | Flat 08
SAP Party Walls to Corridors | 2055 | 19.88 | 157 | 90 | South East | Flat 13 Envelope | Flat 13
SAP Party Walls to Corridors | 3286 | 5.33 | 9.95 | 90 | North | Flat 10 Envelope | Flat 10
SAP Party Walls to Corridors | 3291 | 2.85 | 279.95 | 90 | West | Flat 10 Envelope | Flat 10
SAP Party Walls to Corridors | 3297 | 8.58 | 279.95 | 90 | West | Flat 10 Envelope | Flat 10
SAP Internal Partitions | 2738 | 2.35 | 189.95 | 90 | South | Flat 06 Partitions | Flat 06
SAP Internal Partitions | 2739 | 1.71 | 99.95 | 90 | East | Flat 06 Partitions | Flat 06
SAP Internal Partitions | 2740 | 2.88 | 189.95 | 90 | South | Flat 06 Partitions | Flat 06
SAP Internal Partitions | 2741 | 4.77 | 99.95 | 90 | East | Flat 06 Partitions | Flat 06
SAP Internal Partitions | 2742 | 1.31 | 99.95 | 90 | East | Flat 06 Partitions | Flat 06
SAP Internal Partitions | 2743 | 3.52 | 189.95 | 90 | South | Flat 06 Partitions | Flat 06
SAP Internal Partitions | 2744 | 5.84 | 99.95 | 90 | East | Flat 06 Partitions | Flat 06
SAP Internal Partitions | 2745 | 2.35 | 189.95 | 90 | South | Flat 06 Partitions | Flat 06
SAP Internal Partitions | 2746 | 2.77 | 189.95 | 90 | South | Flat 06 Partitions | Flat 06
SAP Internal Partitions | 2747 | 5.84 | 99.95 | 90 | East | Flat 06 Partitions | Flat 06
SAP Internal Partitions | 2748 | 5.59 | 189.95 | 90 | South | Flat 06 Partitions | Flat 06
SAP Internal Partitions | 2749 | 8.94 | 189.95 | 90 | South | Flat 06 Partitions | Flat 06
SAP Internal Partitions | 2750 | 4.35 | 189.95 | 90 | South | Flat 06 Partitions | Flat 06
SAP Internal Partitions | 2751 | 9.36 | 189.95 | 90 | South | Flat 06 Partitions | Flat 06
SAP Internal Partitions | 2752 | 5.53 | 99.95 | 90 | East | Flat 06 Partitions | Flat 06
SAP Internal Partitions | 1998 | 2.4 | 157 | 90 | South East | Flat 01 Partitions | Flat 01
SAP Internal Partitions | 1999 | 1.88 | 247 | 90 | South West | Flat 01 Partitions | Flat 01
SAP Internal Partitions | 2000 | 3.26 | 157 | 90 | South East | Flat 01 Partitions | Flat 01
SAP Internal Partitions | 2001 | 3.2 | 247 | 90 | South West | Flat 01 Partitions | Flat 01
SAP Internal Partitions | 2002 | 4.39 | 67 | 90 | North East | Flat 01 Partitions | Flat 01
SAP Internal Partitions | 2003 | 3.6 | 67 | 90 | North East | Flat 01 Partitions | Flat 01
SAP Internal Partitions | 2004 | 4.52 | 247 | 90 | South West | Flat 01 Partitions | Flat 01
SAP Internal Partitions | 2005 | 0.86 | 337 | 90 | North West | Flat 01 Partitions | Flat 01
SAP Internal Partitions | 2006 | 3.18 | 157 | 90 | South East | Flat 01 Partitions | Flat 01
SAP Internal Partitions | 2007 | 4.39 | 247 | 90 | South West | Flat 01 Partitions | Flat 01
SAP Internal Partitions | 2008 | 12.78 | 157 | 90 | South East | Flat 01 Partitions | Flat 01
SAP Internal Partitions | 1861 | 4.16 | 157 | 90 | South East | Flat 02 Partitions | Flat 02
SAP Internal Partitions | 1862 | 2.81 | 157 | 90 | South East | Flat 02 Partitions | Flat 02
SAP Internal Partitions | 1863 | 5.43 | 67 | 90 | North East | Flat 02 Partitions | Flat 02
SAP Internal Partitions | 1864 | 1.24 | 337 | 90 | North West | Flat 02 Partitions | Flat 02
SAP Internal Partitions | 1865 | 2.26 | 247 | 90 | South West | Flat 02 Partitions | Flat 02
SAP Internal Partitions | 1866 | 1.24 | 157 | 90 | South East | Flat 02 Partitions | Flat 02
SAP Internal Partitions | 1867 | 4.37 | 157 | 90 | South East | Flat 02 Partitions | Flat 02
SAP Internal Partitions | 1868 | 2.26 | 67 | 90 | North East | Flat 02 Partitions | Flat 02
SAP Internal Partitions | 1869 | 5.21 | 67 | 90 | North East | Flat 02 Partitions | Flat 02
SAP Internal Partitions | 1870 | 2.26 | 247 | 90 | South West | Flat 02 Partitions | Flat 02
SAP Internal Partitions | 1871 | 2.83 | 157 | 90 | South East | Flat 02 Partitions | Flat 02
SAP Internal Partitions | 1872 | 6.64 | 157 | 90 | South East | Flat 02 Partitions | Flat 02
SAP Internal Partitions | 1873 | 4.16 | 157 | 90 | South East | Flat 02 Partitions | Flat 02
SAP Internal Partitions | 1874 | 5.21 | 247 | 90 | South West | Flat 02 Partitions | Flat 02
SAP Internal Partitions | 1875 | 4.37 | 337 | 90 | North West | Flat 02 Partitions | Flat 02
SAP Internal Partitions | 1876 | 11.38 | 67 | 90 | North East | Flat 02 Partitions | Flat 02
SAP Internal Partitions | 1877 | 4.16 | 337 | 90 | North West | Flat 02 Partitions | Flat 02
SAP Internal Partitions | 1878 | 2.95 | 67 | 90 | North East | Flat 02 Partitions | Flat 02
SAP Internal Partitions | 1879 | 1.59 | 67 | 90 | North East | Flat 02 Partitions | Flat 02
SAP Internal Partitions | 1880 | 8.44 | 157 | 90 | South East | Flat 02 Partitions | Flat 02
SAP Internal Partitions | 2224 | 13.2 | 189.95 | 90 | South | Flat 05 Partitions | Flat 05
SAP Internal Partitions | 2225 | 5.27 | 99.95 | 90 | East | Flat 05 Partitions | Flat 05
SAP Internal Partitions | 2226 | 6.59 | 9.95 | 90 | North | Flat 05 Partitions | Flat 05
SAP Internal Partitions | 2227 | 7.03 | 189.95 | 90 | South | Flat 05 Partitions | Flat 05
SAP Internal Partitions | 2228 | 5.66 | 189.95 | 90 | South | Flat 05 Partitions | Flat 05
SAP Internal Partitions | 2229 | 5.27 | 279.95 | 90 | West | Flat 05 Partitions | Flat 05
SAP Internal Partitions | 2230 | 1.97 | 279.95 | 90 | West | Flat 05 Partitions | Flat 05
SAP Internal Partitions | 2231 | 3.06 | 189.95 | 90 | South | Flat 05 Partitions | Flat 05
SAP Internal Partitions | 2232 | 2.13 | 99.95 | 90 | East | Flat 05 Partitions | Flat 05
SAP Internal Partitions | 2233 | 5.66 | 189.95 | 90 | South | Flat 05 Partitions | Flat 05
SAP Internal Partitions | 2234 | 5.03 | 9.95 | 90 | North | Flat 05 Partitions | Flat 05
SAP Internal Partitions | 2235 | 2.13 | 279.95 | 90 | West | Flat 05 Partitions | Flat 05
SAP Internal Partitions | 2236 | 2.89 | 279.95 | 90 | West | Flat 05 Partitions | Flat 05
SAP Internal Partitions | 2237 | 2.13 | 279.95 | 90 | West | Flat 05 Partitions | Flat 05
SAP Internal Partitions | 2238 | 3.88 | 279.95 | 90 | West | Flat 05 Partitions | Flat 05
SAP Internal Partitions | 2239 | 3.88 | 99.95 | 90 | East | Flat 05 Partitions | Flat 05
SAP Internal Partitions | 1930 | 1.61 | 99.95 | 90 | East | Flat 04 Partitions | Flat 04
SAP Internal Partitions | 1931 | 5.33 | 9.95 | 90 | North | Flat 04 Partitions | Flat 04
SAP Internal Partitions | 1932 | 4.46 | 9.95 | 90 | North | Flat 04 Partitions | Flat 04
SAP Internal Partitions | 1933 | 2.67 | 279.95 | 90 | West | Flat 04 Partitions | Flat 04
SAP Internal Partitions | 1934 | 3 | 9.95 | 90 | North | Flat 04 Partitions | Flat 04
SAP Internal Partitions | 1935 | 1.41 | 99.95 | 90 | East | Flat 04 Partitions | Flat 04
SAP Internal Partitions | 1936 | 8.31 | 189.95 | 90 | South | Flat 04 Partitions | Flat 04
SAP Internal Partitions | 1937 | 12.78 | 189.95 | 90 | South | Flat 04 Partitions | Flat 04
SAP Internal Partitions | 1938 | 5.27 | 279.95 | 90 | West | Flat 04 Partitions | Flat 04
SAP Internal Partitions | 3484 | 8.15 | 189.95 | 90 | South | Flat 03 Partitions | Flat 03
SAP Internal Partitions | 3485 | 5.47 | 279.95 | 90 | West | Flat 03 Partitions | Flat 03
SAP Internal Partitions | 3486 | 2.86 | 157 | 90 | South East | Flat 03 Partitions | Flat 03
SAP Internal Partitions | 3487 | 3.12 | 9.95 | 90 | North | Flat 03 Partitions | Flat 03
SAP Internal Partitions | 3488 | 5.12 | 9.95 | 90 | North | Flat 03 Partitions | Flat 03
SAP Internal Partitions | 3489 | 2.33 | 279.95 | 90 | West | Flat 03 Partitions | Flat 03
SAP Internal Partitions | 3490 | 3.62 | 9.95 | 90 | North | Flat 03 Partitions | Flat 03
SAP Internal Partitions | 3491 | 2.28 | 9.95 | 90 | North | Flat 03 Partitions | Flat 03
SAP Internal Partitions | 3492 | 1.64 | 99.95 | 90 | East | Flat 03 Partitions | Flat 03
SAP Internal Partitions | 3493 | 2.82 | 99.95 | 90 | East | Flat 03 Partitions | Flat 03
SAP Internal Partitions | 3494 | 1.95 | 99.95 | 90 | East | Flat 03 Partitions | Flat 03
SAP Internal Partitions | 3495 | 5.75 | 189.95 | 90 | South | Flat 03 Partitions | Flat 03
SAP Internal Partitions | 3496 | 3.09 | 99.95 | 90 | East | Flat 03 Partitions | Flat 03
SAP Internal Partitions | 3497 | 4.35 | 189.95 | 90 | South | Flat 03 Partitions | Flat 03
SAP Internal Partitions | 3498 | 1.64 | 279.95 | 90 | West | Flat 03 Partitions | Flat 03
SAP Internal Partitions | 3499 | 0.74 | 279.95 | 90 | West | Flat 03 Partitions | Flat 03
SAP Internal Partitions | 3500 | 4.67 | 9.95 | 90 | North | Flat 03 Partitions | Flat 03
SAP Internal Partitions | 4302 | 4.35 | 189.95 | 90 | South | Flat 18 Partitions | Flat 18
SAP Internal Partitions | 4303 | 2.88 | 9.95 | 90 | North | Flat 18 Partitions | Flat 18
SAP Internal Partitions | 4304 | 3.52 | 9.95 | 90 | North | Flat 18 Partitions | Flat 18
SAP Internal Partitions | 4305 | 5.84 | 279.95 | 90 | West | Flat 18 Partitions | Flat 18
SAP Internal Partitions | 4306 | 5.53 | 99.95 | 90 | East | Flat 18 Partitions | Flat 18
SAP Internal Partitions | 4307 | 4.77 | 279.95 | 90 | West | Flat 18 Partitions | Flat 18
SAP Internal Partitions | 4308 | 2.35 | 9.95 | 90 | North | Flat 18 Partitions | Flat 18
SAP Internal Partitions | 4309 | 5.84 | 279.95 | 90 | West | Flat 18 Partitions | Flat 18
SAP Internal Partitions | 4310 | 9.36 | 9.95 | 90 | North | Flat 18 Partitions | Flat 18
SAP Internal Partitions | 4311 | 2.35 | 9.95 | 90 | North | Flat 18 Partitions | Flat 18
SAP Internal Partitions | 4312 | 1.71 | 99.95 | 90 | East | Flat 18 Partitions | Flat 18
SAP Internal Partitions | 4313 | 5.62 | 9.95 | 90 | North | Flat 18 Partitions | Flat 18
SAP Internal Partitions | 4314 | 1.31 | 99.95 | 90 | East | Flat 18 Partitions | Flat 18
SAP Internal Partitions | 4315 | 8.94 | 9.95 | 90 | North | Flat 18 Partitions | Flat 18
SAP Internal Partitions | 4316 | 2.77 | 9.95 | 90 | North | Flat 18 Partitions | Flat 18
SAP Internal Partitions | 4585 | 4.28 | 157 | 90 | South East | Flat 13 Partitions | Flat 13
SAP Internal Partitions | 4586 | 5.54 | 337 | 90 | North West | Flat 13 Partitions | Flat 13
SAP Internal Partitions | 4587 | 3.07 | 67 | 90 | North East | Flat 13 Partitions | Flat 13
SAP Internal Partitions | 4588 | 5.52 | 67 | 90 | North East | Flat 13 Partitions | Flat 13
SAP Internal Partitions | 4589 | 2.28 | 337 | 90 | North West | Flat 13 Partitions | Flat 13
SAP Internal Partitions | 4590 | 5.52 | 247 | 90 | South West | Flat 13 Partitions | Flat 13
SAP Internal Partitions | 4591 | 5.45 | 247 | 90 | South West | Flat 13 Partitions | Flat 13
SAP Internal Partitions | 4592 | 4.28 | 337 | 90 | North West | Flat 13 Partitions | Flat 13
SAP Internal Partitions | 4593 | 3.09 | 337 | 90 | North West | Flat 13 Partitions | Flat 13
SAP Internal Partitions | 4594 | 5.52 | 67 | 90 | North East | Flat 13 Partitions | Flat 13
SAP Internal Partitions | 4595 | 1.98 | 67 | 90 | North East | Flat 13 Partitions | Flat 13
SAP Internal Partitions | 4596 | 1.97 | 337 | 90 | North West | Flat 13 Partitions | Flat 13
SAP Internal Partitions | 4597 | 8.56 | 337 | 90 | North West | Flat 13 Partitions | Flat 13
SAP Internal Partitions | 4598 | 6.97 | 67 | 90 | North East | Flat 13 Partitions | Flat 13
SAP Internal Partitions | 4599 | 1.98 | 67 | 90 | North East | Flat 13 Partitions | Flat 13
SAP Internal Partitions | 4600 | 1.97 | 337 | 90 | North West | Flat 13 Partitions | Flat 13
SAP Internal Partitions | 4601 | 5.53 | 337 | 90 | North West | Flat 13 Partitions | Flat 13
SAP Internal Partitions | 4207 | 3.06 | 189.95 | 90 | South | Flat 17 Partitions | Flat 17
SAP Internal Partitions | 4208 | 5.66 | 189.95 | 90 | South | Flat 17 Partitions | Flat 17
SAP Internal Partitions | 4209 | 5.27 | 99.95 | 90 | East | Flat 17 Partitions | Flat 17
SAP Internal Partitions | 4210 | 2.13 | 279.95 | 90 | West | Flat 17 Partitions | Flat 17
SAP Internal Partitions | 4211 | 7.03 | 189.95 | 90 | South | Flat 17 Partitions | Flat 17
SAP Internal Partitions | 4212 | 5.41 | 189.95 | 90 | South | Flat 17 Partitions | Flat 17
SAP Internal Partitions | 4213 | 2.89 | 99.95 | 90 | East | Flat 17 Partitions | Flat 17
SAP Internal Partitions | 4214 | 1.97 | 99.95 | 90 | East | Flat 17 Partitions | Flat 17
SAP Internal Partitions | 4215 | 3.92 | 99.95 | 90 | East | Flat 17 Partitions | Flat 17
SAP Internal Partitions | 4216 | 5.66 | 189.95 | 90 | South | Flat 17 Partitions | Flat 17
SAP Internal Partitions | 4217 | 6.59 | 189.95 | 90 | South | Flat 17 Partitions | Flat 17
SAP Internal Partitions | 4218 | 2.13 | 99.95 | 90 | East | Flat 17 Partitions | Flat 17
SAP Internal Partitions | 4219 | 3.92 | 99.95 | 90 | East | Flat 17 Partitions | Flat 17
SAP Internal Partitions | 4220 | 5.27 | 99.95 | 90 | East | Flat 17 Partitions | Flat 17
SAP Internal Partitions | 4221 | 13.2 | 9.95 | 90 | North | Flat 17 Partitions | Flat 17
SAP Internal Partitions | 4222 | 2.13 | 99.95 | 90 | East | Flat 17 Partitions | Flat 17
SAP Internal Partitions | 4496 | 2.81 | 157 | 90 | South East | Flat 14 Partitions | Flat 14
SAP Internal Partitions | 4481 | 2.26 | 67 | 90 | North East | Flat 14 Partitions | Flat 14
SAP Internal Partitions | 4488 | 1.24 | 337 | 90 | North West | Flat 14 Partitions | Flat 14
SAP Internal Partitions | 4492 | 5.43 | 247 | 90 | South West | Flat 14 Partitions | Flat 14
SAP Internal Partitions | 4497 | 1.59 | 247 | 90 | South West | Flat 14 Partitions | Flat 14
SAP Internal Partitions | 4498 | 6.64 | 337 | 90 | North West | Flat 14 Partitions | Flat 14
SAP Internal Partitions | 4482 | 5.21 | 67 | 90 | North East | Flat 14 Partitions | Flat 14
SAP Internal Partitions | 4483 | 4.16 | 157 | 90 | South East | Flat 14 Partitions | Flat 14
SAP Internal Partitions | 4484 | 4.37 | 157 | 90 | South East | Flat 14 Partitions | Flat 14
SAP Internal Partitions | 4485 | 2.95 | 67 | 90 | North East | Flat 14 Partitions | Flat 14
SAP Internal Partitions | 4489 | 1.24 | 157 | 90 | South East | Flat 14 Partitions | Flat 14
SAP Internal Partitions | 4490 | 5.21 | 67 | 90 | North East | Flat 14 Partitions | Flat 14
SAP Internal Partitions | 4493 | 2.26 | 247 | 90 | South West | Flat 14 Partitions | Flat 14
SAP Internal Partitions | 4486 | 4.16 | 157 | 90 | South East | Flat 14 Partitions | Flat 14
SAP Internal Partitions | 4487 | 4.16 | 337 | 90 | North West | Flat 14 Partitions | Flat 14
SAP Internal Partitions | 4491 | 8.44 | 337 | 90 | North West | Flat 14 Partitions | Flat 14
SAP Internal Partitions | 4494 | 4.37 | 337 | 90 | North West | Flat 14 Partitions | Flat 14
SAP Internal Partitions | 4495 | 2.26 | 247 | 90 | South West | Flat 14 Partitions | Flat 14
SAP Internal Partitions | 4479 | 2.83 | 337 | 90 | North West | Flat 14 Partitions | Flat 14
SAP Internal Partitions | 4480 | 11.38 | 67 | 90 | North East | Flat 14 Partitions | Flat 14
SAP Internal Partitions | 4371 | 8.27 | 9.95 | 90 | North | Flat 16 Partitions | Flat 16
SAP Internal Partitions | 4372 | 12.78 | 9.95 | 90 | North | Flat 16 Partitions | Flat 16
SAP Internal Partitions | 4373 | 1.41 | 279.95 | 90 | West | Flat 16 Partitions | Flat 16
SAP Internal Partitions | 4374 | 0.27 | 279.95 | 90 | West | Flat 16 Partitions | Flat 16
SAP Internal Partitions | 4375 | 2.4 | 279.95 | 90 | West | Flat 16 Partitions | Flat 16
SAP Internal Partitions | 4376 | 4.67 | 189.95 | 90 | South | Flat 16 Partitions | Flat 16
SAP Internal Partitions | 4377 | 5.12 | 189.95 | 90 | South | Flat 16 Partitions | Flat 16
SAP Internal Partitions | 4378 | 1.61 | 279.95 | 90 | West | Flat 16 Partitions | Flat 16
SAP Internal Partitions | 4379 | 5.27 | 99.95 | 90 | East | Flat 16 Partitions | Flat 16
SAP Internal Partitions | 4380 | 3 | 189.95 | 90 | South | Flat 16 Partitions | Flat 16
SAP Internal Partitions | 4693 | 5.5 | 99.95 | 90 | East | Flat 15 Partitions | Flat 15
SAP Internal Partitions | 4689 | 3.12 | 189.95 | 90 | South | Flat 15 Partitions | Flat 15
SAP Internal Partitions | 4691 | 3.08 | 99.95 | 90 | East | Flat 15 Partitions | Flat 15
SAP Internal Partitions | 4692 | 1.95 | 99.95 | 90 | East | Flat 15 Partitions | Flat 15
SAP Internal Partitions | 4687 | 2.86 | 157 | 90 | South East | Flat 15 Partitions | Flat 15
SAP Internal Partitions | 4695 | 5.75 | 189.95 | 90 | South | Flat 15 Partitions | Flat 15
SAP Internal Partitions | 4694 | 2.83 | 99.95 | 90 | East | Flat 15 Partitions | Flat 15
SAP Internal Partitions | 4688 | 2.24 | 9.95 | 90 | North | Flat 15 Partitions | Flat 15
SAP Internal Partitions | 4690 | 8.15 | 9.95 | 90 | North | Flat 15 Partitions | Flat 15
SAP Internal Partitions | 4698 | 5.12 | 189.95 | 90 | South | Flat 15 Partitions | Flat 15
SAP Internal Partitions | 4705 | 4.67 | 189.95 | 90 | South | Flat 15 Partitions | Flat 15
SAP Internal Partitions | 4696 | 3.64 | 189.95 | 90 | South | Flat 15 Partitions | Flat 15
SAP Internal Partitions | 4710 | 1.68 | 99.95 | 90 | East | Flat 15 Partitions | Flat 15
SAP Internal Partitions | 4706 | 0.74 | 99.95 | 90 | East | Flat 15 Partitions | Flat 15
SAP Internal Partitions | 4709 | 1.68 | 279.95 | 90 | West | Flat 15 Partitions | Flat 15
SAP Internal Partitions | 4697 | 4.37 | 189.95 | 90 | South | Flat 15 Partitions | Flat 15
SAP Internal Partitions | 4685 | 2.24 | 189.95 | 90 | South | Flat 15 Partitions | Flat 15
SAP Internal Partitions | 4686 | 2.33 | 99.95 | 90 | East | Flat 15 Partitions | Flat 15
SAP Internal Partitions | 6390 | 4.37 | 337 | 90 | North West | Flat 08 Partitions | Flat 08
SAP Internal Partitions | 6391 | 2.26 | 247 | 90 | South West | Flat 08 Partitions | Flat 08
SAP Internal Partitions | 6381 | 2.95 | 67 | 90 | North East | Flat 08 Partitions | Flat 08
SAP Internal Partitions | 6392 | 2.81 | 157 | 90 | South East | Flat 08 Partitions | Flat 08
SAP Internal Partitions | 6376 | 11.38 | 67 | 90 | North East | Flat 08 Partitions | Flat 08
SAP Internal Partitions | 6379 | 4.16 | 157 | 90 | South East | Flat 08 Partitions | Flat 08
SAP Internal Partitions | 6377 | 2.26 | 67 | 90 | North East | Flat 08 Partitions | Flat 08
SAP Internal Partitions | 6375 | 2.83 | 337 | 90 | North West | Flat 08 Partitions | Flat 08
SAP Internal Partitions | 6380 | 4.37 | 157 | 90 | South East | Flat 08 Partitions | Flat 08
SAP Internal Partitions | 6382 | 4.16 | 157 | 90 | South East | Flat 08 Partitions | Flat 08
SAP Internal Partitions | 6385 | 1.24 | 157 | 90 | South East | Flat 08 Partitions | Flat 08
SAP Internal Partitions | 6386 | 5.21 | 67 | 90 | North East | Flat 08 Partitions | Flat 08
SAP Internal Partitions | 6378 | 5.21 | 67 | 90 | North East | Flat 08 Partitions | Flat 08
SAP Internal Partitions | 6388 | 5.43 | 247 | 90 | South West | Flat 08 Partitions | Flat 08
SAP Internal Partitions | 6383 | 4.16 | 337 | 90 | North West | Flat 08 Partitions | Flat 08
SAP Internal Partitions | 6384 | 1.24 | 337 | 90 | North West | Flat 08 Partitions | Flat 08
SAP Internal Partitions | 6387 | 8.44 | 337 | 90 | North West | Flat 08 Partitions | Flat 08
SAP Internal Partitions | 6389 | 2.26 | 247 | 90 | South West | Flat 08 Partitions | Flat 08
SAP Internal Partitions | 6393 | 1.59 | 247 | 90 | South West | Flat 08 Partitions | Flat 08
SAP Internal Partitions | 6394 | 6.64 | 337 | 90 | North West | Flat 08 Partitions | Flat 08
SAP Internal Partitions | 6484 | 5.52 | 247 | 90 | South West | Flat 07 Partitons | Flat 07
SAP Internal Partitions | 6485 | 8.56 | 337 | 90 | North West | Flat 07 Partitons | Flat 07
SAP Internal Partitions | 6483 | 1.97 | 337 | 90 | North West | Flat 07 Partitons | Flat 07
SAP Internal Partitions | 6486 | 5.52 | 247 | 90 | South West | Flat 07 Partitons | Flat 07
SAP Internal Partitions | 6487 | 6.97 | 247 | 90 | South West | Flat 07 Partitons | Flat 07
SAP Internal Partitions | 6482 | 1.97 | 157 | 90 | South East | Flat 07 Partitons | Flat 07
SAP Internal Partitions | 6489 | 1.98 | 67 | 90 | North East | Flat 07 Partitons | Flat 07
SAP Internal Partitions | 6490 | 3.07 | 67 | 90 | North East | Flat 07 Partitons | Flat 07
SAP Internal Partitions | 6491 | 5.52 | 67 | 90 | North East | Flat 07 Partitons | Flat 07
SAP Internal Partitions | 6488 | 5.53 | 337 | 90 | North West | Flat 07 Partitons | Flat 07
SAP Internal Partitions | 6497 | 5.54 | 157 | 90 | South East | Flat 07 Partitons | Flat 07
SAP Internal Partitions | 6493 | 5.45 | 67 | 90 | North East | Flat 07 Partitons | Flat 07
SAP Internal Partitions | 6495 | 2.28 | 337 | 90 | North West | Flat 07 Partitons | Flat 07
SAP Internal Partitions | 6494 | 3.09 | 337 | 90 | North West | Flat 07 Partitons | Flat 07
SAP Internal Partitions | 6498 | 4.28 | 337 | 90 | North West | Flat 07 Partitons | Flat 07
SAP Internal Partitions | 6492 | 1.98 | 247 | 90 | South West | Flat 07 Partitons | Flat 07
SAP Internal Partitions | 6496 | 4.28 | 337 | 90 | North West | Flat 07 Partitons | Flat 07
SAP Internal Partitions | 6586 | 2.24 | 9.95 | 90 | North | Flat 09 Partitions | Flat 09
SAP Internal Partitions | 6583 | 2.24 | 189.95 | 90 | South | Flat 09 Partitions | Flat 09
SAP Internal Partitions | 6584 | 2.33 | 99.95 | 90 | East | Flat 09 Partitions | Flat 09
SAP Internal Partitions | 6585 | 2.86 | 157 | 90 | South East | Flat 09 Partitions | Flat 09
SAP Internal Partitions | 6587 | 3.12 | 189.95 | 90 | South | Flat 09 Partitions | Flat 09
SAP Internal Partitions | 6590 | 1.95 | 99.95 | 90 | East | Flat 09 Partitions | Flat 09
SAP Internal Partitions | 6588 | 8.15 | 9.95 | 90 | North | Flat 09 Partitions | Flat 09
SAP Internal Partitions | 6589 | 3.08 | 99.95 | 90 | East | Flat 09 Partitions | Flat 09
SAP Internal Partitions | 6603 | 4.67 | 189.95 | 90 | South | Flat 09 Partitions | Flat 09
SAP Internal Partitions | 6604 | 0.74 | 99.95 | 90 | East | Flat 09 Partitions | Flat 09
SAP Internal Partitions | 6591 | 5.5 | 99.95 | 90 | East | Flat 09 Partitions | Flat 09
SAP Internal Partitions | 6593 | 5.75 | 189.95 | 90 | South | Flat 09 Partitions | Flat 09
SAP Internal Partitions | 6592 | 2.83 | 99.95 | 90 | East | Flat 09 Partitions | Flat 09
SAP Internal Partitions | 6594 | 3.64 | 189.95 | 90 | South | Flat 09 Partitions | Flat 09
SAP Internal Partitions | 6595 | 4.37 | 189.95 | 90 | South | Flat 09 Partitions | Flat 09
SAP Internal Partitions | 6596 | 5.12 | 189.95 | 90 | South | Flat 09 Partitions | Flat 09
SAP Internal Partitions | 6607 | 1.68 | 279.95 | 90 | West | Flat 09 Partitions | Flat 09
SAP Internal Partitions | 6608 | 1.68 | 99.95 | 90 | East | Flat 09 Partitions | Flat 09
SAP Internal Partitions | 6668 | 2.4 | 279.95 | 90 | West | Flat 10 Partitons | Flat 10
SAP Internal Partitions | 6665 | 3 | 189.95 | 90 | South | Flat 10 Partitons | Flat 10
SAP Internal Partitions | 6666 | 1.61 | 279.95 | 90 | West | Flat 10 Partitons | Flat 10
SAP Internal Partitions | 6667 | 12.78 | 9.95 | 90 | North | Flat 10 Partitons | Flat 10
SAP Internal Partitions | 6664 | 1.41 | 279.95 | 90 | West | Flat 10 Partitons | Flat 10
SAP Internal Partitions | 6670 | 5.12 | 189.95 | 90 | South | Flat 10 Partitons | Flat 10
SAP Internal Partitions | 6673 | 5.23 | 99.95 | 90 | East | Flat 10 Partitons | Flat 10
SAP Internal Partitions | 6671 | 0.27 | 279.95 | 90 | West | Flat 10 Partitons | Flat 10
SAP Internal Partitions | 6672 | 8.27 | 189.95 | 90 | South | Flat 10 Partitons | Flat 10
SAP Internal Partitions | 6669 | 4.67 | 189.95 | 90 | South | Flat 10 Partitons | Flat 10
SAP Internal Partitions | 6771 | 1.97 | 279.95 | 90 | West | Flat 11 Partitons | Flat 11
SAP Internal Partitions | 6773 | 2.89 | 279.95 | 90 | West | Flat 11 Partitons | Flat 11
SAP Internal Partitions | 6769 | 3.06 | 189.95 | 90 | South | Flat 11 Partitons | Flat 11
SAP Internal Partitions | 6770 | 5.66 | 189.95 | 90 | South | Flat 11 Partitons | Flat 11
SAP Internal Partitions | 6772 | 2.13 | 279.95 | 90 | West | Flat 11 Partitons | Flat 11
SAP Internal Partitions | 6759 | 3.92 | 279.95 | 90 | West | Flat 11 Partitons | Flat 11
SAP Internal Partitions | 6762 | 6.59 | 9.95 | 90 | North | Flat 11 Partitons | Flat 11
SAP Internal Partitions | 6758 | 5.66 | 9.95 | 90 | North | Flat 11 Partitons | Flat 11
SAP Internal Partitions | 6760 | 5.27 | 279.95 | 90 | West | Flat 11 Partitons | Flat 11
SAP Internal Partitions | 6761 | 7.03 | 189.95 | 90 | South | Flat 11 Partitons | Flat 11
SAP Internal Partitions | 6763 | 2.13 | 279.95 | 90 | West | Flat 11 Partitons | Flat 11
SAP Internal Partitions | 6766 | 2.13 | 279.95 | 90 | West | Flat 11 Partitons | Flat 11
SAP Internal Partitions | 6764 | 3.92 | 99.95 | 90 | East | Flat 11 Partitons | Flat 11
SAP Internal Partitions | 6767 | 5.41 | 9.95 | 90 | North | Flat 11 Partitons | Flat 11
SAP Internal Partitions | 6765 | 13.2 | 189.95 | 90 | South | Flat 11 Partitons | Flat 11
SAP Internal Partitions | 6768 | 5.27 | 99.95 | 90 | East | Flat 11 Partitons | Flat 11
SAP Internal Partitions | 6862 | 5.53 | 279.95 | 90 | West | Flat 12 Partitions | Flat 12
SAP Internal Partitions | 6861 | 5.84 | 279.95 | 90 | West | Flat 12 Partitions | Flat 12
SAP Internal Partitions | 6863 | 5.84 | 99.95 | 90 | East | Flat 12 Partitions | Flat 12
SAP Internal Partitions | 6858 | 4.35 | 9.95 | 90 | North | Flat 12 Partitions | Flat 12
SAP Internal Partitions | 6866 | 2.88 | 9.95 | 90 | North | Flat 12 Partitions | Flat 12
SAP Internal Partitions | 6864 | 1.31 | 279.95 | 90 | West | Flat 12 Partitions | Flat 12
SAP Internal Partitions | 6854 | 5.62 | 9.95 | 90 | North | Flat 12 Partitions | Flat 12
SAP Internal Partitions | 6860 | 1.71 | 279.95 | 90 | West | Flat 12 Partitions | Flat 12
SAP Internal Partitions | 6855 | 3.52 | 9.95 | 90 | North | Flat 12 Partitions | Flat 12
SAP Internal Partitions | 6867 | 2.77 | 9.95 | 90 | North | Flat 12 Partitions | Flat 12
SAP Internal Partitions | 6868 | 4.77 | 99.95 | 90 | East | Flat 12 Partitions | Flat 12
SAP Internal Partitions | 6857 | 2.35 | 189.95 | 90 | South | Flat 12 Partitions | Flat 12
SAP Internal Partitions | 6856 | 2.35 | 9.95 | 90 | North | Flat 12 Partitions | Flat 12
SAP Internal Partitions | 6865 | 9.36 | 9.95 | 90 | North | Flat 12 Partitions | Flat 12
SAP Internal Partitions | 6859 | 8.94 | 9.95 | 90 | North | Flat 12 Partitions | Flat 12
SAP Party Ceiling | 3935 | 65.52 | 93.57 | 0 | Hor. | Flat 09 Envelope | Flat 09
SAP Party Ceiling | 4076 | 71.69 | 168.31 | 0 | Hor. | Flat 07 Envelope | Flat 07
SAP Party Ceiling | 1316 | 48.08 | 0 | 0 | Hor. | Flat 01 Envelope | Flat 01
SAP Party Ceiling | 1463 | 72.97 | 247 | 0 | Hor. | Flat 02 Envelope | Flat 02
SAP Party Ceiling | 1211 | 51.69 | 220.43 | 0 | Hor. | Flat 04 Envelope | Flat 04
SAP Party Ceiling | 2472 | 91.57 | 40.43 | 0 | Hor. | Flat 05 Envelope | Flat 05
SAP Party Ceiling | 1691 | 71.95 | 130.43 | 0 | Hor. | Flat 06 Envelope | Flat 06
SAP Party Ceiling | 2914 | 65.53 | 0 | 0 | Hor. | Flat 03 Envelope | Flat 03
SAP Party Ceiling | 3353 | 72.04 | 344.13 | 0 | Hor. | Flat 12 Envelope | Flat 12
SAP Party Ceiling | 4015 | 91.57 | 349.53 | 0 | Hor. | Flat 11 Envelope | Flat 11
SAP Party Ceiling | 3204 | 72.97 | 191.51 | 0 | Hor. | Flat 08 Envelope | Flat 08
SAP Party Ceiling | 3276 | 51.69 | 292 | 0 | Hor. | Flat 10 Envelope | Flat 10
SAP Ground Floor | 1301 | 29.34 | 67 | 180 | Hor. | Flat 01 Envelope | Flat 01
SAP Ground Floor | 1464 | 47.3 | 67 | 180 | Hor. | Flat 02 Envelope | Flat 02
SAP Ground Floor | 1212 | 28.09 | 337 | 180 | Hor. | Flat 04 Envelope | Flat 04
SAP Ground Floor | 2517 | 58.88 | 0 | 180 | Hor. | Flat 05 Envelope | Flat 05
SAP Ground Floor | 1692 | 47.39 | 292 | 180 | Hor. | Flat 06 Envelope | Flat 06
SAP Ground Floor | 2948 | 39.8 | 202 | 180 | Hor. | Flat 03 Envelope | Flat 03
SAP Exposed Floor | 4064 | 2.91 | 13.16 | 180 | Hor. | Flat 07 Envelope | Flat 07
SAP Party Floor | 3920 | 39.79 | 347.62 | 180 | Hor. | Flat 09 Envelope | Flat 09
SAP Party Floor | 4120 | 39.66 | 126.74 | 180 | Hor. | Flat 07 Envelope | Flat 07
SAP Party Floor | 2829 | 47.39 | 131.65 | 180 | Hor. | Flat 18 Envelope | Flat 18
SAP Party Floor | 2403 | 39.79 | 351.04 | 180 | Hor. | Flat 15 Envelope | Flat 15
SAP Party Floor | 3374 | 47.39 | 130.43 | 180 | Hor. | Flat 12 Envelope | Flat 12
SAP Party Floor | 2088 | 58.88 | 172.95 | 180 | Hor. | Flat 17 Envelope | Flat 17
SAP Party Floor | 2598 | 28.08 | 157 | 180 | Hor. | Flat 16 Envelope | Flat 16
SAP Party Floor | 2581 | 47.3 | 17.43 | 180 | Hor. | Flat 14 Envelope | Flat 14
SAP Party Floor | 3984 | 58.88 | 177.85 | 180 | Hor. | Flat 11 Envelope | Flat 11
SAP Party Floor | 3220 | 47.3 | 17.43 | 180 | Hor. | Flat 08 Envelope | Flat 08
SAP Party Floor | 2034 | 46.05 | 67 | 180 | Hor. | Flat 13 Envelope | Flat 13
SAP Party Floor | 3237 | 28.08 | 157 | 180 | Hor. | Flat 10 Envelope | Flat 10
SAP Front Door | 1152 | 2.12 | 337 | 90 | North West | Flat 01 Envelope > Unnamed ComponentInstance (ID: 1007) (Definition: Z-C-External Door 1#1) | Flat 01
SAP Ground Floor & Living | 1256 | 24.62 | 0 | 180 | Hor. | Flat 01 Envelope | Flat 01
SAP Ground Floor & Living | 1499 | 25.67 | 0 | 180 | Hor. | Flat 02 Envelope | Flat 02
SAP Ground Floor & Living | 1221 | 23.6 | 48.57 | 180 | Hor. | Flat 04 Envelope | Flat 04
SAP Ground Floor & Living | 2471 | 32.7 | 0 | 180 | Hor. | Flat 05 Envelope | Flat 05
SAP Ground Floor & Living | 1753 | 24.56 | 0 | 180 | Hor. | Flat 06 Envelope | Flat 06
SAP Ground Floor & Living | 2944 | 25.73 | 337 | 180 | Hor. | Flat 03 Envelope | Flat 03
SAP Roof 5 | 1275 | 5.88 | 337 | 0 | Hor. | Flat 01 Envelope | Flat 01
SAP Roof 5 | 2808 | 72.04 | 345.13 | 0 | Hor. | Flat 18 Envelope | Flat 18
SAP Roof 5 | 2418 | 65.52 | 93.57 | 0 | Hor. | Flat 15 Envelope | Flat 15
SAP Roof 5 | 2123 | 91.57 | 349.99 | 0 | Hor. | Flat 17 Envelope | Flat 17
SAP Roof 5 | 2637 | 51.69 | 292 | 0 | Hor. | Flat 16 Envelope | Flat 16
SAP Roof 5 | 2565 | 72.97 | 191.51 | 0 | Hor. | Flat 14 Envelope | Flat 14
SAP Roof 5 | 2044 | 71.69 | 168.31 | 0 | Hor. | Flat 13 Envelope | Flat 13
SAP External Wall Area 4 | 1281 | 7.55 | 67 | 90 | North East | Flat 01 Envelope | Flat 01
SAP External Wall Area 4 | 1282 | 5.4 | 337 | 90 | North West | Flat 01 Envelope | Flat 01
SAP Party Floor & Living | 3969 | 25.73 | 166.46 | 180 | Hor. | Flat 09 Envelope | Flat 09
SAP Party Floor & Living | 4123 | 25.16 | 288.35 | 180 | Hor. | Flat 07 Envelope | Flat 07
SAP Party Floor & Living | 2840 | 24.65 | 184.65 | 180 | Hor. | Flat 18 Envelope | Flat 18
SAP Party Floor & Living | 2452 | 25.73 | 166.46 | 180 | Hor. | Flat 15 Envelope | Flat 15
SAP Party Floor & Living | 3385 | 24.65 | 183.57 | 180 | Hor. | Flat 12 Envelope | Flat 12
SAP Party Floor & Living | 2138 | 32.7 | 167.3 | 180 | Hor. | Flat 17 Envelope | Flat 17
SAP Party Floor & Living | 2646 | 23.6 | 22 | 180 | Hor. | Flat 16 Envelope | Flat 16
SAP Party Floor & Living | 2564 | 25.67 | 39.45 | 180 | Hor. | Flat 14 Envelope | Flat 14
SAP Party Floor & Living | 4029 | 32.7 | 172.26 | 180 | Hor. | Flat 11 Envelope | Flat 11
SAP Party Floor & Living | 3203 | 25.67 | 39.45 | 180 | Hor. | Flat 08 Envelope | Flat 08
SAP Party Floor & Living | 2069 | 25.64 | 320.54 | 180 | Hor. | Flat 13 Envelope | Flat 13
SAP Party Floor & Living | 3285 | 23.6 | 22 | 180 | Hor. | Flat 10 Envelope | Flat 10
SAP Semi-Exposed Floor1 | 4098 | 3.48 | 337 | 180 | Hor. | Flat 07 Envelope | Flat 07
SAP Semi-Exposed Floor & Living | 4109 | 0.48 | 65.51 | 180 | Hor. | Flat 07 Envelope | Flat 07
Glazing | 1106 | 0.66 | 67 | 90 | North East | Flat 09 Envelope > Unnamed ComponentInstance (ID: 5622) (Definition: Z-C-Window 1) | Flat 09
Glazing | 1110 | 1.14 | 67 | 90 | North East | Flat 09 Envelope > Unnamed ComponentInstance (ID: 5622) (Definition: Z-C-Window 1) | Flat 09
Glazing | 1106 | 0.66 | 99.95 | 90 | East | Flat 09 Envelope > Unnamed ComponentInstance (ID: 5626) (Definition: Z-C-Window 1) | Flat 09
Glazing | 1110 | 1.14 | 99.95 | 90 | East | Flat 09 Envelope > Unnamed ComponentInstance (ID: 5626) (Definition: Z-C-Window 1) | Flat 09
Glazing | 1080 | 0.91 | 99.95 | 90 | East | Flat 09 Envelope > Unnamed ComponentInstance (ID: 5630) (Definition: Z-C-Window 2) | Flat 09
Glazing | 1081 | 0.53 | 99.95 | 90 | East | Flat 09 Envelope > Unnamed ComponentInstance (ID: 5630) (Definition: Z-C-Window 2) | Flat 09
Glazing | 1068 | 1.89 | 157 | 90 | South East | Flat 09 Envelope > Unnamed ComponentInstance (ID: 5634) (Definition: Z-C-External Door 3) | Flat 09
Glazing | 1080 | 0.91 | 99.95 | 90 | East | Flat 09 Envelope > Unnamed ComponentInstance (ID: 5638) (Definition: Z-C-Window 2) | Flat 09
Glazing | 1081 | 0.53 | 99.95 | 90 | East | Flat 09 Envelope > Unnamed ComponentInstance (ID: 5638) (Definition: Z-C-Window 2) | Flat 09
Glazing | 1106 | 0.66 | 337 | 90 | North West | Flat 07 Envelope > Unnamed ComponentInstance (ID: 5992) (Definition: Z-C-Window 1) | Flat 07
Glazing | 1110 | 1.14 | 337 | 90 | North West | Flat 07 Envelope > Unnamed ComponentInstance (ID: 5992) (Definition: Z-C-Window 1) | Flat 07
Glazing | 1106 | 0.66 | 337 | 90 | North West | Flat 07 Envelope > Unnamed ComponentInstance (ID: 5996) (Definition: Z-C-Window 1) | Flat 07
Glazing | 1110 | 1.14 | 337 | 90 | North West | Flat 07 Envelope > Unnamed ComponentInstance (ID: 5996) (Definition: Z-C-Window 1) | Flat 07
Glazing | 1106 | 0.66 | 337 | 90 | North West | Flat 07 Envelope > Unnamed ComponentInstance (ID: 6000) (Definition: Z-C-Window 1) | Flat 07
Glazing | 1110 | 1.14 | 337 | 90 | North West | Flat 07 Envelope > Unnamed ComponentInstance (ID: 6000) (Definition: Z-C-Window 1) | Flat 07
Glazing | 1106 | 0.66 | 247 | 90 | South West | Flat 07 Envelope > Unnamed ComponentInstance (ID: 6004) (Definition: Z-C-Window 1) | Flat 07
Glazing | 1110 | 1.14 | 247 | 90 | South West | Flat 07 Envelope > Unnamed ComponentInstance (ID: 6004) (Definition: Z-C-Window 1) | Flat 07
Glazing | 958 | 1.21 | 247 | 90 | South West | Flat 07 Envelope > Unnamed ComponentInstance (ID: 6008) (Definition: Z-C-Window 3) | Flat 07
Glazing | 975 | 1.17 | 247 | 90 | South West | Flat 07 Envelope > Unnamed ComponentInstance (ID: 6008) (Definition: Z-C-Window 3) | Flat 07
Glazing | 983 | 1.13 | 247 | 90 | South West | Flat 07 Envelope > Unnamed ComponentInstance (ID: 6008) (Definition: Z-C-Window 3) | Flat 07
Glazing | 984 | 0.58 | 247 | 90 | South West | Flat 07 Envelope > Unnamed ComponentInstance (ID: 6008) (Definition: Z-C-Window 3) | Flat 07
Glazing | 985 | 0.56 | 247 | 90 | South West | Flat 07 Envelope > Unnamed ComponentInstance (ID: 6008) (Definition: Z-C-Window 3) | Flat 07
Glazing | 986 | 0.6 | 247 | 90 | South West | Flat 07 Envelope > Unnamed ComponentInstance (ID: 6008) (Definition: Z-C-Window 3) | Flat 07
Glazing | 1094 | 2.12 | 157 | 90 | South East | Flat 07 Envelope > Unnamed ComponentInstance (ID: 6012) (Definition: Z-C-External Door 1) | Flat 07
Glazing | 1138 | 1.39 | 247 | 90 | South West | Flat 01 Envelope > Unnamed ComponentInstance (ID: 999) (Definition: Z-C-Window 1#1) | Flat 01
Glazing | 1139 | 0.41 | 247 | 90 | South West | Flat 01 Envelope > Unnamed ComponentInstance (ID: 999) (Definition: Z-C-Window 1#1) | Flat 01
Glazing | 1138 | 1.39 | 337 | 90 | North West | Flat 01 Envelope > Unnamed ComponentInstance (ID: 1003) (Definition: Z-C-Window 1#1) | Flat 01
Glazing | 1139 | 0.41 | 337 | 90 | North West | Flat 01 Envelope > Unnamed ComponentInstance (ID: 1003) (Definition: Z-C-Window 1#1) | Flat 01
Glazing | 1039 | 1.35 | 247 | 90 | South West | Flat 01 Envelope > Unnamed ComponentInstance (ID: 1011) (Definition: Z-C-Curtain Wall 1#1) | Flat 01
Glazing | 1055 | 1.35 | 247 | 90 | South West | Flat 01 Envelope > Unnamed ComponentInstance (ID: 1011) (Definition: Z-C-Curtain Wall 1#1) | Flat 01
Glazing | 1056 | 0.67 | 247 | 90 | South West | Flat 01 Envelope > Unnamed ComponentInstance (ID: 1011) (Definition: Z-C-Curtain Wall 1#1) | Flat 01
Glazing | 1057 | 0.67 | 247 | 90 | South West | Flat 01 Envelope > Unnamed ComponentInstance (ID: 1011) (Definition: Z-C-Curtain Wall 1#1) | Flat 01
Glazing | 1058 | 2.13 | 247 | 90 | South West | Flat 01 Envelope > Unnamed ComponentInstance (ID: 1011) (Definition: Z-C-Curtain Wall 1#1) | Flat 01
Glazing | 1138 | 1.39 | 337 | 90 | North West | Flat 02 Envelope > Unnamed ComponentInstance (ID: 1417) (Definition: Z-C-Window 1#1) | Flat 02
Glazing | 1139 | 0.41 | 337 | 90 | North West | Flat 02 Envelope > Unnamed ComponentInstance (ID: 1417) (Definition: Z-C-Window 1#1) | Flat 02
Glazing | 1138 | 1.39 | 337 | 90 | North West | Flat 02 Envelope > Unnamed ComponentInstance (ID: 1421) (Definition: Z-C-Window 1#1) | Flat 02
Glazing | 1139 | 0.41 | 337 | 90 | North West | Flat 02 Envelope > Unnamed ComponentInstance (ID: 1421) (Definition: Z-C-Window 1#1) | Flat 02
Glazing | 1020 | 0.59 | 337 | 90 | North West | Flat 02 Envelope > Unnamed ComponentInstance (ID: 1425) (Definition: Z-C-Curtain Wall 1) | Flat 02
Glazing | 1021 | 0.6 | 337 | 90 | North West | Flat 02 Envelope > Unnamed ComponentInstance (ID: 1425) (Definition: Z-C-Curtain Wall 1) | Flat 02
Glazing | 1022 | 2.14 | 337 | 90 | North West | Flat 02 Envelope > Unnamed ComponentInstance (ID: 1425) (Definition: Z-C-Curtain Wall 1) | Flat 02
Glazing | 1023 | 0.95 | 337 | 90 | North West | Flat 02 Envelope > Unnamed ComponentInstance (ID: 1425) (Definition: Z-C-Curtain Wall 1) | Flat 02
Glazing | 1024 | 0.96 | 337 | 90 | North West | Flat 02 Envelope > Unnamed ComponentInstance (ID: 1425) (Definition: Z-C-Curtain Wall 1) | Flat 02
Glazing | 1122 | 1.11 | 67 | 90 | North East | Flat 02 Envelope > Unnamed ComponentInstance (ID: 1429) (Definition: Z-C-Window 2#2) | Flat 02
Glazing | 1123 | 0.33 | 67 | 90 | North East | Flat 02 Envelope > Unnamed ComponentInstance (ID: 1429) (Definition: Z-C-Window 2#2) | Flat 02
Glazing | 1122 | 1.11 | 67 | 90 | North East | Flat 02 Envelope > Unnamed ComponentInstance (ID: 1433) (Definition: Z-C-Window 2#2) | Flat 02
Glazing | 1123 | 0.33 | 67 | 90 | North East | Flat 02 Envelope > Unnamed ComponentInstance (ID: 1433) (Definition: Z-C-Window 2#2) | Flat 02
Glazing | 1138 | 1.39 | 99.95 | 90 | East | Flat 04 Envelope > Unnamed ComponentInstance (ID: 793) (Definition: Z-C-Window 1#1) | Flat 04
Glazing | 1139 | 0.41 | 99.95 | 90 | East | Flat 04 Envelope > Unnamed ComponentInstance (ID: 793) (Definition: Z-C-Window 1#1) | Flat 04
Glazing | 1020 | 0.59 | 99.95 | 90 | East | Flat 04 Envelope > Unnamed ComponentInstance (ID: 797) (Definition: Z-C-Curtain Wall 1) | Flat 04
Glazing | 1021 | 0.6 | 99.95 | 90 | East | Flat 04 Envelope > Unnamed ComponentInstance (ID: 797) (Definition: Z-C-Curtain Wall 1) | Flat 04
Glazing | 1022 | 2.14 | 99.95 | 90 | East | Flat 04 Envelope > Unnamed ComponentInstance (ID: 797) (Definition: Z-C-Curtain Wall 1) | Flat 04
Glazing | 1023 | 0.95 | 99.95 | 90 | East | Flat 04 Envelope > Unnamed ComponentInstance (ID: 797) (Definition: Z-C-Curtain Wall 1) | Flat 04
Glazing | 1024 | 0.96 | 99.95 | 90 | East | Flat 04 Envelope > Unnamed ComponentInstance (ID: 797) (Definition: Z-C-Curtain Wall 1) | Flat 04
Glazing | 1122 | 1.11 | 189.95 | 90 | South | Flat 05 Envelope > Unnamed ComponentInstance (ID: 3658) (Definition: Z-C-Window 2#2) | Flat 05
Glazing | 1123 | 0.33 | 189.95 | 90 | South | Flat 05 Envelope > Unnamed ComponentInstance (ID: 3658) (Definition: Z-C-Window 2#2) | Flat 05
Glazing | 1138 | 1.39 | 99.95 | 90 | East | Flat 05 Envelope > Unnamed ComponentInstance (ID: 3662) (Definition: Z-C-Window 1#1) | Flat 05
Glazing | 1139 | 0.41 | 99.95 | 90 | East | Flat 05 Envelope > Unnamed ComponentInstance (ID: 3662) (Definition: Z-C-Window 1#1) | Flat 05
Glazing | 1020 | 0.59 | 279.95 | 90 | West | Flat 05 Envelope > Unnamed ComponentInstance (ID: 3666) (Definition: Z-C-Curtain Wall 1) | Flat 05
Glazing | 1021 | 0.6 | 279.95 | 90 | West | Flat 05 Envelope > Unnamed ComponentInstance (ID: 3666) (Definition: Z-C-Curtain Wall 1) | Flat 05
Glazing | 1022 | 2.14 | 279.95 | 90 | West | Flat 05 Envelope > Unnamed ComponentInstance (ID: 3666) (Definition: Z-C-Curtain Wall 1) | Flat 05
Glazing | 1023 | 0.95 | 279.95 | 90 | West | Flat 05 Envelope > Unnamed ComponentInstance (ID: 3666) (Definition: Z-C-Curtain Wall 1) | Flat 05
Glazing | 1024 | 0.96 | 279.95 | 90 | West | Flat 05 Envelope > Unnamed ComponentInstance (ID: 3666) (Definition: Z-C-Curtain Wall 1) | Flat 05
Glazing | 1138 | 1.39 | 99.95 | 90 | East | Flat 05 Envelope > Unnamed ComponentInstance (ID: 3670) (Definition: Z-C-Window 1#1) | Flat 05
Glazing | 1139 | 0.41 | 99.95 | 90 | East | Flat 05 Envelope > Unnamed ComponentInstance (ID: 3670) (Definition: Z-C-Window 1#1) | Flat 05
Glazing | 1138 | 1.39 | 279.95 | 90 | West | Flat 06 Envelope > Unnamed ComponentInstance (ID: 2015) (Definition: Z-C-Window 1#1) | Flat 06
Glazing | 1139 | 0.41 | 279.95 | 90 | West | Flat 06 Envelope > Unnamed ComponentInstance (ID: 2015) (Definition: Z-C-Window 1#1) | Flat 06
Glazing | 1138 | 1.39 | 279.95 | 90 | West | Flat 06 Envelope > Unnamed ComponentInstance (ID: 2019) (Definition: Z-C-Window 1#1) | Flat 06
Glazing | 1139 | 0.41 | 279.95 | 90 | West | Flat 06 Envelope > Unnamed ComponentInstance (ID: 2019) (Definition: Z-C-Window 1#1) | Flat 06
Glazing | 1020 | 0.59 | 279.95 | 90 | West | Flat 06 Envelope > Unnamed ComponentInstance (ID: 2023) (Definition: Z-C-Curtain Wall 1) | Flat 06
Glazing | 1021 | 0.6 | 279.95 | 90 | West | Flat 06 Envelope > Unnamed ComponentInstance (ID: 2023) (Definition: Z-C-Curtain Wall 1) | Flat 06
Glazing | 1022 | 2.14 | 279.95 | 90 | West | Flat 06 Envelope > Unnamed ComponentInstance (ID: 2023) (Definition: Z-C-Curtain Wall 1) | Flat 06
Glazing | 1023 | 0.95 | 279.95 | 90 | West | Flat 06 Envelope > Unnamed ComponentInstance (ID: 2023) (Definition: Z-C-Curtain Wall 1) | Flat 06
Glazing | 1024 | 0.96 | 279.95 | 90 | West | Flat 06 Envelope > Unnamed ComponentInstance (ID: 2023) (Definition: Z-C-Curtain Wall 1) | Flat 06
Glazing | 1122 | 1.11 | 99.95 | 90 | East | Flat 03 Envelope > Unnamed ComponentInstance (ID: 4633) (Definition: Z-C-Window 2#2) | Flat 03
Glazing | 1123 | 0.33 | 99.95 | 90 | East | Flat 03 Envelope > Unnamed ComponentInstance (ID: 4633) (Definition: Z-C-Window 2#2) | Flat 03
Glazing | 1138 | 1.39 | 67 | 90 | North East | Flat 03 Envelope > Unnamed ComponentInstance (ID: 4637) (Definition: Z-C-Window 1#1) | Flat 03
Glazing | 1139 | 0.41 | 67 | 90 | North East | Flat 03 Envelope > Unnamed ComponentInstance (ID: 4637) (Definition: Z-C-Window 1#1) | Flat 03
Glazing | 1122 | 1.11 | 99.95 | 90 | East | Flat 03 Envelope > Unnamed ComponentInstance (ID: 4641) (Definition: Z-C-Window 2#2) | Flat 03
Glazing | 1123 | 0.33 | 99.95 | 90 | East | Flat 03 Envelope > Unnamed ComponentInstance (ID: 4641) (Definition: Z-C-Window 2#2) | Flat 03
Glazing | 1138 | 1.39 | 99.95 | 90 | East | Flat 03 Envelope > Unnamed ComponentInstance (ID: 4645) (Definition: Z-C-Window 1#1) | Flat 03
Glazing | 1139 | 0.41 | 99.95 | 90 | East | Flat 03 Envelope > Unnamed ComponentInstance (ID: 4645) (Definition: Z-C-Window 1#1) | Flat 03
Glazing | 1068 | 1.89 | 157 | 90 | South East | Flat 03 Envelope > Unnamed ComponentInstance (ID: 4649) (Definition: Z-C-External Door 3) | Flat 03
Glazing | 1020 | 0.59 | 279.95 | 90 | West | Flat 18 Envelope > Unnamed ComponentInstance (ID: 4403) (Definition: Z-C-Curtain Wall 1) | Flat 18
Glazing | 1021 | 0.6 | 279.95 | 90 | West | Flat 18 Envelope > Unnamed ComponentInstance (ID: 4403) (Definition: Z-C-Curtain Wall 1) | Flat 18
Glazing | 1022 | 2.14 | 279.95 | 90 | West | Flat 18 Envelope > Unnamed ComponentInstance (ID: 4403) (Definition: Z-C-Curtain Wall 1) | Flat 18
Glazing | 1023 | 0.95 | 279.95 | 90 | West | Flat 18 Envelope > Unnamed ComponentInstance (ID: 4403) (Definition: Z-C-Curtain Wall 1) | Flat 18
Glazing | 1024 | 0.96 | 279.95 | 90 | West | Flat 18 Envelope > Unnamed ComponentInstance (ID: 4403) (Definition: Z-C-Curtain Wall 1) | Flat 18
Glazing | 1106 | 0.66 | 279.95 | 90 | West | Flat 18 Envelope > Unnamed ComponentInstance (ID: 4407) (Definition: Z-C-Window 1) | Flat 18
Glazing | 1110 | 1.14 | 279.95 | 90 | West | Flat 18 Envelope > Unnamed ComponentInstance (ID: 4407) (Definition: Z-C-Window 1) | Flat 18
Glazing | 1106 | 0.66 | 279.95 | 90 | West | Flat 18 Envelope > Unnamed ComponentInstance (ID: 4411) (Definition: Z-C-Window 1) | Flat 18
Glazing | 1110 | 1.14 | 279.95 | 90 | West | Flat 18 Envelope > Unnamed ComponentInstance (ID: 4411) (Definition: Z-C-Window 1) | Flat 18
Glazing | 1106 | 0.66 | 67 | 90 | North East | Flat 15 Envelope > Unnamed ComponentInstance (ID: 3483) (Definition: Z-C-Window 1) | Flat 15
Glazing | 1110 | 1.14 | 67 | 90 | North East | Flat 15 Envelope > Unnamed ComponentInstance (ID: 3483) (Definition: Z-C-Window 1) | Flat 15
Glazing | 1106 | 0.66 | 99.95 | 90 | East | Flat 15 Envelope > Unnamed ComponentInstance (ID: 3487) (Definition: Z-C-Window 1) | Flat 15
Glazing | 1110 | 1.14 | 99.95 | 90 | East | Flat 15 Envelope > Unnamed ComponentInstance (ID: 3487) (Definition: Z-C-Window 1) | Flat 15
Glazing | 1080 | 0.91 | 99.95 | 90 | East | Flat 15 Envelope > Unnamed ComponentInstance (ID: 3491) (Definition: Z-C-Window 2) | Flat 15
Glazing | 1081 | 0.53 | 99.95 | 90 | East | Flat 15 Envelope > Unnamed ComponentInstance (ID: 3491) (Definition: Z-C-Window 2) | Flat 15
Glazing | 1068 | 1.89 | 157 | 90 | South East | Flat 15 Envelope > Unnamed ComponentInstance (ID: 3495) (Definition: Z-C-External Door 3) | Flat 15
Glazing | 1080 | 0.91 | 99.95 | 90 | East | Flat 15 Envelope > Unnamed ComponentInstance (ID: 3499) (Definition: Z-C-Window 2) | Flat 15
Glazing | 1081 | 0.53 | 99.95 | 90 | East | Flat 15 Envelope > Unnamed ComponentInstance (ID: 3499) (Definition: Z-C-Window 2) | Flat 15
Glazing | 1020 | 0.59 | 279.95 | 90 | West | Flat 12 Envelope > Unnamed ComponentInstance (ID: 5203) (Definition: Z-C-Curtain Wall 1) | Flat 12
Glazing | 1021 | 0.6 | 279.95 | 90 | West | Flat 12 Envelope > Unnamed ComponentInstance (ID: 5203) (Definition: Z-C-Curtain Wall 1) | Flat 12
Glazing | 1022 | 2.14 | 279.95 | 90 | West | Flat 12 Envelope > Unnamed ComponentInstance (ID: 5203) (Definition: Z-C-Curtain Wall 1) | Flat 12
Glazing | 1023 | 0.95 | 279.95 | 90 | West | Flat 12 Envelope > Unnamed ComponentInstance (ID: 5203) (Definition: Z-C-Curtain Wall 1) | Flat 12
Glazing | 1024 | 0.96 | 279.95 | 90 | West | Flat 12 Envelope > Unnamed ComponentInstance (ID: 5203) (Definition: Z-C-Curtain Wall 1) | Flat 12
Glazing | 1106 | 0.66 | 279.95 | 90 | West | Flat 12 Envelope > Unnamed ComponentInstance (ID: 5207) (Definition: Z-C-Window 1) | Flat 12
Glazing | 1110 | 1.14 | 279.95 | 90 | West | Flat 12 Envelope > Unnamed ComponentInstance (ID: 5207) (Definition: Z-C-Window 1) | Flat 12
Glazing | 1106 | 0.66 | 279.95 | 90 | West | Flat 12 Envelope > Unnamed ComponentInstance (ID: 5211) (Definition: Z-C-Window 1) | Flat 12
Glazing | 1110 | 1.14 | 279.95 | 90 | West | Flat 12 Envelope > Unnamed ComponentInstance (ID: 5211) (Definition: Z-C-Window 1) | Flat 12
Glazing | 1020 | 0.59 | 279.95 | 90 | West | Flat 17 Envelope > Unnamed ComponentInstance (ID: 2821) (Definition: Z-C-Curtain Wall 1) | Flat 17
Glazing | 1021 | 0.6 | 279.95 | 90 | West | Flat 17 Envelope > Unnamed ComponentInstance (ID: 2821) (Definition: Z-C-Curtain Wall 1) | Flat 17
Glazing | 1022 | 2.14 | 279.95 | 90 | West | Flat 17 Envelope > Unnamed ComponentInstance (ID: 2821) (Definition: Z-C-Curtain Wall 1) | Flat 17
Glazing | 1023 | 0.95 | 279.95 | 90 | West | Flat 17 Envelope > Unnamed ComponentInstance (ID: 2821) (Definition: Z-C-Curtain Wall 1) | Flat 17
Glazing | 1024 | 0.96 | 279.95 | 90 | West | Flat 17 Envelope > Unnamed ComponentInstance (ID: 2821) (Definition: Z-C-Curtain Wall 1) | Flat 17
Glazing | 1106 | 0.66 | 99.95 | 90 | East | Flat 17 Envelope > Unnamed ComponentInstance (ID: 2825) (Definition: Z-C-Window 1) | Flat 17
Glazing | 1110 | 1.14 | 99.95 | 90 | East | Flat 17 Envelope > Unnamed ComponentInstance (ID: 2825) (Definition: Z-C-Window 1) | Flat 17
Glazing | 1106 | 0.66 | 99.95 | 90 | East | Flat 17 Envelope > Unnamed ComponentInstance (ID: 2829) (Definition: Z-C-Window 1) | Flat 17
Glazing | 1110 | 1.14 | 99.95 | 90 | East | Flat 17 Envelope > Unnamed ComponentInstance (ID: 2829) (Definition: Z-C-Window 1) | Flat 17
Glazing | 1080 | 0.91 | 189.95 | 90 | South | Flat 17 Envelope > Unnamed ComponentInstance (ID: 2833) (Definition: Z-C-Window 2) | Flat 17
Glazing | 1081 | 0.53 | 189.95 | 90 | South | Flat 17 Envelope > Unnamed ComponentInstance (ID: 2833) (Definition: Z-C-Window 2) | Flat 17
Glazing | 1020 | 0.59 | 99.95 | 90 | East | Flat 16 Envelope > Unnamed ComponentInstance (ID: 4002) (Definition: Z-C-Curtain Wall 1) | Flat 16
Glazing | 1021 | 0.6 | 99.95 | 90 | East | Flat 16 Envelope > Unnamed ComponentInstance (ID: 4002) (Definition: Z-C-Curtain Wall 1) | Flat 16
Glazing | 1022 | 2.14 | 99.95 | 90 | East | Flat 16 Envelope > Unnamed ComponentInstance (ID: 4002) (Definition: Z-C-Curtain Wall 1) | Flat 16
Glazing | 1023 | 0.95 | 99.95 | 90 | East | Flat 16 Envelope > Unnamed ComponentInstance (ID: 4002) (Definition: Z-C-Curtain Wall 1) | Flat 16
Glazing | 1024 | 0.96 | 99.95 | 90 | East | Flat 16 Envelope > Unnamed ComponentInstance (ID: 4002) (Definition: Z-C-Curtain Wall 1) | Flat 16
Glazing | 1106 | 0.66 | 99.95 | 90 | East | Flat 16 Envelope > Unnamed ComponentInstance (ID: 4006) (Definition: Z-C-Window 1) | Flat 16
Glazing | 1110 | 1.14 | 99.95 | 90 | East | Flat 16 Envelope > Unnamed ComponentInstance (ID: 4006) (Definition: Z-C-Window 1) | Flat 16
Glazing | 1080 | 0.91 | 67 | 90 | North East | Flat 14 Envelope > Unnamed ComponentInstance (ID: 3823) (Definition: Z-C-Window 2) | Flat 14
Glazing | 1081 | 0.53 | 67 | 90 | North East | Flat 14 Envelope > Unnamed ComponentInstance (ID: 3823) (Definition: Z-C-Window 2) | Flat 14
Glazing | 1106 | 0.66 | 337 | 90 | North West | Flat 14 Envelope > Unnamed ComponentInstance (ID: 3827) (Definition: Z-C-Window 1) | Flat 14
Glazing | 1110 | 1.14 | 337 | 90 | North West | Flat 14 Envelope > Unnamed ComponentInstance (ID: 3827) (Definition: Z-C-Window 1) | Flat 14
Glazing | 1080 | 0.91 | 67 | 90 | North East | Flat 14 Envelope > Unnamed ComponentInstance (ID: 3831) (Definition: Z-C-Window 2) | Flat 14
Glazing | 1081 | 0.53 | 67 | 90 | North East | Flat 14 Envelope > Unnamed ComponentInstance (ID: 3831) (Definition: Z-C-Window 2) | Flat 14
Glazing | 1020 | 0.59 | 337 | 90 | North West | Flat 14 Envelope > Unnamed ComponentInstance (ID: 3835) (Definition: Z-C-Curtain Wall 1) | Flat 14
Glazing | 1021 | 0.6 | 337 | 90 | North West | Flat 14 Envelope > Unnamed ComponentInstance (ID: 3835) (Definition: Z-C-Curtain Wall 1) | Flat 14
Glazing | 1022 | 2.14 | 337 | 90 | North West | Flat 14 Envelope > Unnamed ComponentInstance (ID: 3835) (Definition: Z-C-Curtain Wall 1) | Flat 14
Glazing | 1023 | 0.95 | 337 | 90 | North West | Flat 14 Envelope > Unnamed ComponentInstance (ID: 3835) (Definition: Z-C-Curtain Wall 1) | Flat 14
Glazing | 1024 | 0.96 | 337 | 90 | North West | Flat 14 Envelope > Unnamed ComponentInstance (ID: 3835) (Definition: Z-C-Curtain Wall 1) | Flat 14
Glazing | 1106 | 0.66 | 337 | 90 | North West | Flat 14 Envelope > Unnamed ComponentInstance (ID: 3839) (Definition: Z-C-Window 1) | Flat 14
Glazing | 1110 | 1.14 | 337 | 90 | North West | Flat 14 Envelope > Unnamed ComponentInstance (ID: 3839) (Definition: Z-C-Window 1) | Flat 14
Glazing | 1020 | 0.59 | 279.95 | 90 | West | Flat 11 Envelope > Unnamed ComponentInstance (ID: 5797) (Definition: Z-C-Curtain Wall 1) | Flat 11
Glazing | 1021 | 0.6 | 279.95 | 90 | West | Flat 11 Envelope > Unnamed ComponentInstance (ID: 5797) (Definition: Z-C-Curtain Wall 1) | Flat 11
Glazing | 1022 | 2.14 | 279.95 | 90 | West | Flat 11 Envelope > Unnamed ComponentInstance (ID: 5797) (Definition: Z-C-Curtain Wall 1) | Flat 11
Glazing | 1023 | 0.95 | 279.95 | 90 | West | Flat 11 Envelope > Unnamed ComponentInstance (ID: 5797) (Definition: Z-C-Curtain Wall 1) | Flat 11
Glazing | 1024 | 0.96 | 279.95 | 90 | West | Flat 11 Envelope > Unnamed ComponentInstance (ID: 5797) (Definition: Z-C-Curtain Wall 1) | Flat 11
Glazing | 1106 | 0.66 | 99.95 | 90 | East | Flat 11 Envelope > Unnamed ComponentInstance (ID: 5801) (Definition: Z-C-Window 1) | Flat 11
Glazing | 1110 | 1.14 | 99.95 | 90 | East | Flat 11 Envelope > Unnamed ComponentInstance (ID: 5801) (Definition: Z-C-Window 1) | Flat 11
Glazing | 1106 | 0.66 | 99.95 | 90 | East | Flat 11 Envelope > Unnamed ComponentInstance (ID: 5805) (Definition: Z-C-Window 1) | Flat 11
Glazing | 1110 | 1.14 | 99.95 | 90 | East | Flat 11 Envelope > Unnamed ComponentInstance (ID: 5805) (Definition: Z-C-Window 1) | Flat 11
Glazing | 1080 | 0.91 | 189.95 | 90 | South | Flat 11 Envelope > Unnamed ComponentInstance (ID: 5809) (Definition: Z-C-Window 2) | Flat 11
Glazing | 1081 | 0.53 | 189.95 | 90 | South | Flat 11 Envelope > Unnamed ComponentInstance (ID: 5809) (Definition: Z-C-Window 2) | Flat 11
Glazing | 1080 | 0.91 | 67 | 90 | North East | Flat 08 Envelope > Unnamed ComponentInstance (ID: 4803) (Definition: Z-C-Window 2) | Flat 08
Glazing | 1081 | 0.53 | 67 | 90 | North East | Flat 08 Envelope > Unnamed ComponentInstance (ID: 4803) (Definition: Z-C-Window 2) | Flat 08
Glazing | 1106 | 0.66 | 337 | 90 | North West | Flat 08 Envelope > Unnamed ComponentInstance (ID: 4807) (Definition: Z-C-Window 1) | Flat 08
Glazing | 1110 | 1.14 | 337 | 90 | North West | Flat 08 Envelope > Unnamed ComponentInstance (ID: 4807) (Definition: Z-C-Window 1) | Flat 08
Glazing | 1080 | 0.91 | 67 | 90 | North East | Flat 08 Envelope > Unnamed ComponentInstance (ID: 4811) (Definition: Z-C-Window 2) | Flat 08
Glazing | 1081 | 0.53 | 67 | 90 | North East | Flat 08 Envelope > Unnamed ComponentInstance (ID: 4811) (Definition: Z-C-Window 2) | Flat 08
Glazing | 1020 | 0.59 | 337 | 90 | North West | Flat 08 Envelope > Unnamed ComponentInstance (ID: 4815) (Definition: Z-C-Curtain Wall 1) | Flat 08
Glazing | 1021 | 0.6 | 337 | 90 | North West | Flat 08 Envelope > Unnamed ComponentInstance (ID: 4815) (Definition: Z-C-Curtain Wall 1) | Flat 08
Glazing | 1022 | 2.14 | 337 | 90 | North West | Flat 08 Envelope > Unnamed ComponentInstance (ID: 4815) (Definition: Z-C-Curtain Wall 1) | Flat 08
Glazing | 1023 | 0.95 | 337 | 90 | North West | Flat 08 Envelope > Unnamed ComponentInstance (ID: 4815) (Definition: Z-C-Curtain Wall 1) | Flat 08
Glazing | 1024 | 0.96 | 337 | 90 | North West | Flat 08 Envelope > Unnamed ComponentInstance (ID: 4815) (Definition: Z-C-Curtain Wall 1) | Flat 08
Glazing | 1106 | 0.66 | 337 | 90 | North West | Flat 08 Envelope > Unnamed ComponentInstance (ID: 4819) (Definition: Z-C-Window 1) | Flat 08
Glazing | 1110 | 1.14 | 337 | 90 | North West | Flat 08 Envelope > Unnamed ComponentInstance (ID: 4819) (Definition: Z-C-Window 1) | Flat 08
Glazing | 1106 | 0.66 | 337 | 90 | North West | Flat 13 Envelope > Unnamed ComponentInstance (ID: 2641) (Definition: Z-C-Window 1) | Flat 13
Glazing | 1110 | 1.14 | 337 | 90 | North West | Flat 13 Envelope > Unnamed ComponentInstance (ID: 2641) (Definition: Z-C-Window 1) | Flat 13
Glazing | 1106 | 0.66 | 337 | 90 | North West | Flat 13 Envelope > Unnamed ComponentInstance (ID: 2645) (Definition: Z-C-Window 1) | Flat 13
Glazing | 1110 | 1.14 | 337 | 90 | North West | Flat 13 Envelope > Unnamed ComponentInstance (ID: 2645) (Definition: Z-C-Window 1) | Flat 13
Glazing | 1106 | 0.66 | 337 | 90 | North West | Flat 13 Envelope > Unnamed ComponentInstance (ID: 2649) (Definition: Z-C-Window 1) | Flat 13
Glazing | 1110 | 1.14 | 337 | 90 | North West | Flat 13 Envelope > Unnamed ComponentInstance (ID: 2649) (Definition: Z-C-Window 1) | Flat 13
Glazing | 1106 | 0.66 | 247 | 90 | South West | Flat 13 Envelope > Unnamed ComponentInstance (ID: 2653) (Definition: Z-C-Window 1) | Flat 13
Glazing | 1110 | 1.14 | 247 | 90 | South West | Flat 13 Envelope > Unnamed ComponentInstance (ID: 2653) (Definition: Z-C-Window 1) | Flat 13
Glazing | 958 | 1.21 | 247 | 90 | South West | Flat 13 Envelope > Unnamed ComponentInstance (ID: 2657) (Definition: Z-C-Window 3) | Flat 13
Glazing | 975 | 1.17 | 247 | 90 | South West | Flat 13 Envelope > Unnamed ComponentInstance (ID: 2657) (Definition: Z-C-Window 3) | Flat 13
Glazing | 983 | 1.13 | 247 | 90 | South West | Flat 13 Envelope > Unnamed ComponentInstance (ID: 2657) (Definition: Z-C-Window 3) | Flat 13
Glazing | 984 | 0.58 | 247 | 90 | South West | Flat 13 Envelope > Unnamed ComponentInstance (ID: 2657) (Definition: Z-C-Window 3) | Flat 13
Glazing | 985 | 0.56 | 247 | 90 | South West | Flat 13 Envelope > Unnamed ComponentInstance (ID: 2657) (Definition: Z-C-Window 3) | Flat 13
Glazing | 986 | 0.6 | 247 | 90 | South West | Flat 13 Envelope > Unnamed ComponentInstance (ID: 2657) (Definition: Z-C-Window 3) | Flat 13
Glazing | 1094 | 2.12 | 157 | 90 | South East | Flat 13 Envelope > Unnamed ComponentInstance (ID: 2661) (Definition: Z-C-External Door 1) | Flat 13
Glazing | 1020 | 0.59 | 99.95 | 90 | East | Flat 10 Envelope > Unnamed ComponentInstance (ID: 4982) (Definition: Z-C-Curtain Wall 1) | Flat 10
Glazing | 1021 | 0.6 | 99.95 | 90 | East | Flat 10 Envelope > Unnamed ComponentInstance (ID: 4982) (Definition: Z-C-Curtain Wall 1) | Flat 10
Glazing | 1022 | 2.14 | 99.95 | 90 | East | Flat 10 Envelope > Unnamed ComponentInstance (ID: 4982) (Definition: Z-C-Curtain Wall 1) | Flat 10
Glazing | 1023 | 0.95 | 99.95 | 90 | East | Flat 10 Envelope > Unnamed ComponentInstance (ID: 4982) (Definition: Z-C-Curtain Wall 1) | Flat 10
Glazing | 1024 | 0.96 | 99.95 | 90 | East | Flat 10 Envelope > Unnamed ComponentInstance (ID: 4982) (Definition: Z-C-Curtain Wall 1) | Flat 10
Glazing | 1106 | 0.66 | 99.95 | 90 | East | Flat 10 Envelope > Unnamed ComponentInstance (ID: 4986) (Definition: Z-C-Window 1) | Flat 10
Glazing | 1110 | 1.14 | 99.95 | 90 | East | Flat 10 Envelope > Unnamed ComponentInstance (ID: 4986) (Definition: Z-C-Window 1) | Flat 10